## Main Menu
Arkansas Public Service Commission
Standardized Annual Reporting Workbook v4.0 August 2017
General |  | Energy Efficeny Portolio Data and Information
Annual Report Tables | [6 empty] | Reports |  |  | Data
EE Portfolio Summary | EE Portfolio Expenditures by Program | EE Portfolio Expenditure Summary by Cost Type |  |  | Company Statistics | Program Budget, Energy Savings & Participants | Portfolio Results Detail by Program | Portfolio Results Detail by Sector | Best Practices | Program Year Data | Next Annual Report Load Data
2022 Program Year Evaluation
2022 EE Portfolio Information
Instructions
Glossary
Historical Information
View
The Empire District Electric Company
View
View
View
View
View
View
View
View
View

## Instructions
Instructions
This workbook is designed to be used by the Investor Owned Utilities in Arkansas to track and report savings and cost related to its Energy Efficiency Portfolios.
Navigating the workbook
The workbook is organized so that it is navigable from within the screen without using the Excel tabs. If Excel tabs are needed, go to File>Options>Advanced, scroll to "Display Options for this Workbook" then toggle on "Show sheet Tabs". All the worksheets work from left to right in order of completion. The Main Menu is organized into 3 sections:
| 1 | General: Contains Instructions and Glossary.
| 2 | Energy Efficiency Portfolio Data and Information: Contains all input requirements.
| 3 | Tables/Reports/Data: Contains the tables that are required for the narrative report. Also contains additional reports and data summaries.
Each tab in the workbook uses a menu bar at the top that has action buttons that the user can use to navigate through the various options. The 'yellow' shaded cells are cells that require data from the user. All other cells contain formulas and are locked to prevent the user from overwriting the formulas. Input the specific information as indicated by the workbook, for example if the request is kWh provide the data in kWh or if it is MWh provide the data in MWh's.
Input Values. These cells indicate required data inputs from the user.
Reserved Cells for input data. These cells will change to 'yellow' shaded cells indicating the required data inputs from the user.
Calculated Values
To preserve the integrity of the formulae contained within this Excel workbook, the user should only make changes to the 'yellow' shaded cells.
Some 'yellow' shaded cells require the use of a dropdown list. The user must select an option form the choices on the dropdown list. DO NOT use the copy paste function in cells with dropdown lists.
Completing the workbook
The 'Energy Efficiency Portfolio Data and Information' is organized into 3 data input sections:
| 1 | EE Portfolio Information
|  | a). | Utility Information
|  | b). | Program Descriptions
»Program Detail
|  | c). | Budgets
»Budget Reconciliation
|  | d). | Savings & Participants
|  | e). | Training
»External Training
»Internal Training
| 2 | Current Program Year Evaluation
|  | a). | Actual Expenses
»EECR Reconciliation
|  | b). | Evaluated Savings
»Methodology for Energy Savings
|  | c). | Cost-Benefits
»Key Assumptions
»NEBs
»Other Cost-Benefit Test
|  | d). | LCFC
|  | e). | Incentives
| 3 | Historical Information
|  | a). | Prior Two Years
»Portfolio Data
Other functions of the workbook
Unprotecting
If for some reason you need to unlock the spreadsheet the password is "APSC". Once you make the correction, lock the workbook back to protect any errors from occurring.
Dropdown List
Some of the required inputs are selected from dropdown list. You can view those list from here:
Cost Categories
There are six 'Cost Categories' used for tracking EE cost. They are divided into the following:
| 1 | Planning / Design
| 2 | Marketing & Delivery
| 3 | Incentives / Direct Install Costs
| 4 | EM&V
| 5 | Administration
| 6 | Regulatory
Main Menu
List
Cost

## Utility Information
| Utility Information |  | Utility Type
1 | Utility Full Name | The Empire District Electric Company | Electric | 0
2 | Utility Abbreviated Name | Empire |  | 0
3 | Program Year | 2022 | Total 2022 Utility Revenue | 0
4 | Docket | 07-076-TF | 17797583 | 0 | 0
5 | Date Filed | 2023-05-01 |  | 0
6 | Name of Contact | Kimberly Dragoo | Total 2022 Utility Energy Sales (MWh) | 0
7 | Email Address | kimberly.dragoo@libertyutilities.com | 169635 | 0 | 0
8 | Telephone Number | 774-301-3382 |  | 0
9 | Full-Time EE Employees | 1 |  | 0
0
Utility Information
Program Descriptions
Budgets
Savings & Participants
Training
Not Used
Main Menu
Instructions: Provide the requested information. Select Company's Utility Type from the dropdown menu.
Empire - 2022 EE Portfolio Information
Utility Information
<< Back
Next >>

## Program Descriptions
#REF!
|  | Program Name | Target Sector | Program Type | Delivery Channel
1 | Residential Products | Residential Products | Residential | Consumer Product Rebate | Self-Install | 0
2 | School-Based Energy Education | School-Based Energy Education | Residential | Consumer Product Rebate | Self-Install | 0
3 | #REF! | Commercial and Industrial (Custom) | Commercial & Industrial | Custom | Trade Ally | #REF!
4 | Commercial and Industrial (Custom) | Commercial and Industrial (Prescriptive) | Commercial & Industrial | Prescriptive/Standard Offer | Trade Ally | 0
5 | Commercial and Industrial (Prescriptive) | Energy Efficiency Arkansas | All Classes | Behavior/Education | Statewide Administrator | 0
6 | Energy Efficiency Arkansas | Online Energy Calculator | All Classes | Behavior/Education | Trade Ally | 0
7 | Weatherization | Weatherization | Residential | Whole Home | Trade Ally | 0
8 | Empty |  |  |  |  | 0
9 | Empty |  |  |  |  | 0
10 | Empty |  |  |  |  | 0
11 | Empty |  |  |  |  | 0
12 | Empty |  |  |  |  | 0
13 | Empty |  |  |  |  | 0
14 | Empty |  |  |  |  | 0
15 | Empty |  |  |  |  | 0
16 | Empty |  |  |  |  | 0
17 | Empty |  |  |  |  | 0
18 | Empty |  |  |  |  | 0
19 | Empty |  |  |  |  | 0
20 | Empty |  |  |  |  | 0
#REF!
Utility Information
Program Descriptions
Budgets
Savings & Participants
Training
Not Used
Main Menu
Instructions: Provide the following details for each program: Program Name, Target Sector, Program Type, and Delivery Channel . Provide additional detail for each program by clicking on the "Program Detail" button.
Note: Target sector , Program Type, and Delivery Channel are dropdown options. DO NOT use the copy&paste function for dropdown opitions.
Empire - 2022 EE Portfolio Information
Program Descriptions
<< Back
Next >>
Program Detail
Definitions

## Program Detail
Program Detail
|  | Residential | [19 empty] | Commercial & Industrial (Small Business, Commercial, Industrial, and Agriculture) | [18 empty] | Cross-Sector
| Program Name | N/A | Behavioral/Education | CPR - Appliances | CPR - Electronics | CPR - Lighting | CPR - Appliance Recycling | DR - Load Control | DR - Price/Time Base | Financing | Manufactured Homes | M/TF - HVAC/Furnace | M/TF - Insulation | M/TF - Pool Pumps | M/TF - Water Heater | M/TF - Windows | Multi-family | Other | WH - Audits | WH - Direct Install | WH - Retrofit | Audit | Custom | Custom/Agriculture | Custom/Data Centers | Custom/Industrial Processes | Custom/Refrigerator Warehouses | DR - Load Control | DR - Price/Time Base | Financing | Govt/Nonprofit/MUSH | Other | Prescriptive/Grocery | Prescriptive/HVAC | Prescriptive/IT or Office | Prescriptive/Industrial | Prescriptive/Lighting | Prescriptive/Motors | Prescriptive/Small Commercial | Street Lighting | Codes & Standards | Market Transformation | Marketing, Education, Outreach | Multi-Sector Rebates | Other | Research | Shading/Cool Roofs | Voltage Reduction | Workforce Development
1 | Residential Products |  |  | X |  | X
2 | School-Based Energy Education |  | X | X | X | X | [36 empty] | X
3 | Commercial and Industrial (Custom) | [21 empty] | X
4 | Commercial and Industrial (Prescriptive) | [32 empty] | X |  |  | X | X | X
5 | Energy Efficiency Arkansas |  | X | [30 empty] | X |  |  | X | X | X
6 | Online Energy Calculator |  | X | [18 empty] | X | [20 empty] | X
7 | Weatherization | [11 empty] | X | [5 empty] | X | X | X
8 | Empty
9 | Empty
10 | Empty
11 | Empty
12 | Empty
13 | Empty
14 | Empty
15 | Empty
16 | Empty
17 | Empty
18 | Empty
19 | Empty
20 | Empty
Back
Definitions - Residential
Definitions - C&I
Definitions - Cross Sector
Instructions: Indicate with an 'X' all that apply.

## Budgets
| Program Name | Planning / Design | Marketing & Delivery | Incentives / Direct Install Costs | EM&V | Administration | Total
1 | Residential Products | 0 | 21436.6667 | 0 | 0 | 0 | 21436.6667 | 0
2 | School-Based Energy Education | 0 | 14841.6667 | 0 | 0 | 0 | 14841.6667 | 0
3 | Commercial and Industrial (Custom) | 0 | 6303.6667 | 3111 | 0 | 0 | 9414.6667 | 0
4 | Commercial and Industrial (Prescriptive) | 0 | 9078.19 | 8843.81 | 0 | 0 | 17922 | 0
5 | Energy Efficiency Arkansas | 0 | 1409 | 0 | 0 | 0 | 1409 | 0
6 | Online Energy Calculator | 0 | 2000 | 0 | 0 | 0 | 2000 | 0
7 | Weatherization | 0 | 42000 | 0 | 0 | 0 | 42000 | 0
8 | Empty | [5 empty] | 0 | 0
9 | Empty | [5 empty] | 0 | 0
10 | Empty | [5 empty] | 0 | 0
11 | Empty | [5 empty] | 0 | 0
12 | Empty | [5 empty] | 0 | 0
13 | Empty | [5 empty] | 0 | 0
14 | Empty | [5 empty] | 0 | 0
15 | Empty | [5 empty] | 0 | 0
16 | Empty | [5 empty] | 0 | 0
17 | Empty | [5 empty] | 0 | 0
18 | Empty | [5 empty] | 0 | 0
19 | Empty | [5 empty] | 0 | 0
20 | Empty | [5 empty] | 0 | 0
| Total: | 0 | 97069.19 | 11954.81 | 0 | 0 | 109024
[6 empty] | Regulatory | 9500 | 0
[6 empty] | Total Portfolio Budget: | 118524 | 0
Utility Information
Program Descriptions
Budgets
Savings & Participants
Training
Not Used
Main Menu
Instructions: Provide the Revised Budget amount for each cost category, including Regulatory at bottom. Provide the budget reconciliation by clicking on the "Budget Reconciliation" button. Report only programs that incurred a cost in the reporting year.
Empire - 2022 EE Portfolio Information
Budgets
<< Back
Next >>
Budget Reconciliation
Definitions

## Rec1
Budget Reconciliation Table
#REF!
|  | Program Name | Initial Budget* | Revised Budget | Difference | Change | Explanation for the Change
| 1 | Residential Products | 21436.6667 | 21436.6667 | 0 | 0% |  | 0
| 2 | School-Based Energy Education | 14841.6667 | 14841.6667 | 0 | 0% |  | 0
| 3 | #REF! | 9414.6667 | 9414.6667 | 0 | 0% |  | #REF!
| 4 | Commercial and Industrial (Custom) | 17922 | 17922 | 0 | 0% |  | 0
| 5 | Commercial and Industrial (Prescriptive) | 1409 | 1409 | 0 | 0% |  | 0
| 6 | Energy Efficiency Arkansas | 2000 | 2000 | 0 | 0% |  | 0
| 7 | Weatherization | 42000 | 42000 | 0 | 0% |  | 0
| 8 | Empty |  | 0 | 0 | - |  | 0
| 9 | Empty |  | 0 | 0 | - |  | 0
| 10 | Empty |  | 0 | 0 | - |  | 0
| 11 | Empty |  | 0 | 0 | - |  | 0
| 12 | Empty |  | 0 | 0 | - |  | 0
| 13 | Empty |  | 0 | 0 | - |  | 0
| 14 | Empty |  | 0 | 0 | - |  | 0
| 15 | Empty |  | 0 | 0 | - |  | 0
| 16 | Empty |  | 0 | 0 | - |  | 0
| 17 | Empty |  | 0 | 0 | - |  | 0
| 18 | Empty |  | 0 | 0 | - |  | 0
| 19 | Empty |  | 0 | 0 | - |  | 0
| 20 | Empty |  | 0 | 0 | - |  | 0
|  | Regulatory | 9500 | 9500 | 0 | 0% |  | 0
|  | Total Portfolio: | 118524 | 118524 | 0 | 0% |  | 0
|  | Order # | 86 | approved the Initial Budget. |  |  |  | 0
#REF!
Back

## Training
| Sessions | Attendees | Man Hours | Certificates | Cost
External Training | 0 | 0 | 0 | 0
| Sessions | Attendees | Man Hours | Certificates | Cost
Internal Training | 0 | 0 | 0 | 0
Utility Information
Program Descriptions
Budgets
Savings & Participants
Training
Not Used
Main Menu
Instructions: Provide details for both External and Internal Training by clicking the "Details" button. Provide the Cost associated with the training.
Empire - 2022 EE Portfolio Information
Training
<< Back
Next >>
Details
Details

## External
External Training (contractors, trade allies, consumer groups, ect.)
| Event No. | Test | Start Date | Class | Class Description | Training Location | Sponsor | No. of Attendees (A) | Length of Session (B) | Training Session Man-Hours (A x B) | Any Certificates Awarded? (Y or N) | # of Certificates Awarded
| 1 | 0
| 2 | 0
| 3 | 0
| 4 | 0
| 5 | 0
| 6 | 0
| 7 | 0
| 8 | 0
| 9 | 0
| 10 | 0
| 11 | 0
| 12 | 0
| 13 | 0
| 14 | 0
| 15 | 0
| 16 | 0
| 17 | 0
| 18 | 0
| 19 | 0
| 20 | 0
| Totals: | 0 | Events: | 0 |  |  |  | 0 |  | 0 |  | 0
Back
Instructions: Provide the required details for all external training. To add additional rows select the far right cell in the last numbered row and press the 'tab' button.

## Internal
Internal Training (Utility or Administrator Staff)
| Event No. | Test | Start Date | Class | Class Description | Training Location | Sponsor | No. of Attendees (A) | Length of Session (B) | Training Session Man-Hours (A x B) | Any Certificates Awarded? (Y or N) | # of Certificates Awarded
| 1 | 0
| 2 | 0
| 3 | 0
| 4 | 0
| 5 | 0
| 6 | 0
| 7 | 0
| 8 | 0
| Totals: | 0 | Events: | 0 |  |  |  | 0 |  | 0 |  | 0
Back
Instructions: Provide the required details for all internal training. To add additional rows select the far right cell in the last numbered row and press the 'tab' button.

## Not Used1
NOT USED - HELD FOR FUTURE USE
Utility Information
Program Descriptions
Budgets
Savings & Participants
Training
Not Used
Main Menu
Instructions:
Empire - 2022 EE Portfolio Information
Not Used
<< Back
Next >>

## Actual Expenses
| Program Name | Planning / Design | Marketing & Delivery | Incentives / Direct Install Costs | EM&V | Administration | Total
1 | Residential Products | 0 | 0 | 1010.32 | 0 | 0 | 1010.32
| Utility | 0 | 0 | 1010.32 |  |  | 1010.32
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
2 | School-Based Energy Education | 0 | 0 | 0 | 0 | 0 | 0
| Utility |  |  | 0 | 0 |  | 0
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
3 | Commercial and Industrial (Custom) | 0 | 0 | 540 | 0 | 0 | 540
| Utility |  |  | 540 |  |  | 540
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
4 | Commercial and Industrial (Prescriptive) | 0 | 0 | 0 | 0 | 0 | 0
| Utility |  |  | 0 |  |  | 0
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
5 | Energy Efficiency Arkansas | 0 | 0 | 0 | 0 | 0 | 0
| Utility | [5 empty] | 0
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
6 | Online Energy Calculator | 0 | 5990 | 0 | 0 | 0 | 5990
| Utility |  | 5990 |  |  |  | 5990
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
7 | Weatherization | 0 | 0 | 0 | 0 | 0 | 0
| Utility | [5 empty] | 0
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
8 | Empty | 0 | 0 | 0 | 0 | 0 | 0
| Utility | [5 empty] | 0
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
9 | Empty | 0 | 0 | 0 | 0 | 0 | 0
| Utility | [5 empty] | 0
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
10 | Empty | 0 | 0 | 0 | 0 | 0 | 0
| Utility | [5 empty] | 0
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
11 | Empty | 0 | 0 | 0 | 0 | 0 | 0
| Utility | [5 empty] | 0
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
12 | Empty | 0 | 0 | 0 | 0 | 0 | 0
| Utility | [5 empty] | 0
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
13 | Empty | 0 | 0 | 0 | 0 | 0 | 0
| Utility | [5 empty] | 0
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
14 | Empty | 0 | 0 | 0 | 0 | 0 | 0
| Utility | [5 empty] | 0
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
15 | Empty | 0 | 0 | 0 | 0 | 0 | 0
| Utility | [5 empty] | 0
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
16 | Empty | 0 | 0 | 0 | 0 | 0 | 0
| Utility | [5 empty] | 0
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
17 | Empty | 0 | 0 | 0 | 0 | 0 | 0
| Utility | [5 empty] | 0
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
18 | Empty | 0 | 0 | 0 | 0 | 0 | 0
| Utility | [5 empty] | 0
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
19 | Empty | 0 | 0 | 0 | 0 | 0 | 0
| Utility | [5 empty] | 0
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
20 | Empty | 0 | 0 | 0 | 0 | 0 | 0
| Utility | [5 empty] | 0
| Affiliate | [5 empty] | 0
| 3rd Party | [5 empty] | 0
| Portfolio Total | Planning / Design | Marketing & Delivery | Incentives / Direct Install Costs | EM&V | Administration | Regulatory | Total
| Utility | 0 | 5990 | 1550.32 | 0 | 0 | 10882 | 18422.32
| Affiliate | 0 | 0 | 0 |  | 0 |  | 0
| 3rd Party | 0 | 0 | 0 | 0 | 0 |  | 0
| Total: | 0 | 5990 | 1550.32 | 0 | 0 | 10882 | 18422.32
Actual Expenses
Evaluated Savings
Cost-Benefits
LCFC
Incentives
Not Used
Main Menu
Instructions: Provide actual PY expenditures, including Regulatory at bottom. Provide an EECR Cost Reconciliation by clicking the "EECR Reconciliation" button.
Empire - 2022 Program Year Evaluation
Actual Expenses
<< Back
Next >>
EECR Reconciliation
Definitions

## Rec2
EECR Reconciliation Table
| Total Portfolio Expenditures: | 18422.32
| EECR Expenses: | 247531.03 | 1
| Difference | -229108.71
Explanation for Difference:
prior year o/u balance and LCFC
0
Back
Instructions: EECR Expenses is the expenses collected through the EECR for the Program Year being reported (the expense included in the PY True-up). Provide an explanation if the Reported Expenditures are different than the expenses collected via the EECR.

## Savings & Participants
|  | Demand Savings | Energy Savings
| Program Name | (kW) | (kWh) | Participants | Participant Definition
1 | Residential Products | 8.3 | 99138 | 525 | Customer | 0
2 | School-Based Energy Education | 8.5 | 92418 | 315 | Customer | 0
3 | Commercial and Industrial (Custom) | 5.6 | 25929 | 1 | Customer | 0
4 | Commercial and Industrial (Prescriptive) | 19.3 | 99582 | 4 | Customer | 0
5 | Energy Efficiency Arkansas | 0 | 0 | 0 | Population | 0
6 | Online Energy Calculator | 0 | 0 | 0 | Customer | 0
7 | Weatherization | 14.4 | 102270 | 20 | Homes | 0
8 | Empty |  |  |  |  | 0
9 | Empty |  |  |  |  | 0
10 | Empty |  |  |  |  | 0
11 | Empty |  |  |  |  | 0
12 | Empty |  |  |  |  | 0
13 | Empty |  |  |  |  | 0
14 | Empty |  |  |  |  | 0
15 | Empty |  |  |  |  | 0
16 | Empty |  |  |  |  | 0
17 | Empty |  |  |  |  | 0
18 | Empty |  |  |  |  | 0
19 | Empty |  |  |  |  | 0
20 | Empty |  |  |  |  | 0
|  | 56.1 | 419337 | 865 |  | 0
Utility Information
Program Descriptions
Budgets
Savings & Participants
Training
Not Used
Main Menu
Instructions: Provide net demand savings, net energy savings, number of participants and the participant definition for each program. Select the Participant Definition from the dropdown option.
Empire - 2022 EE Portfolio Information
Savings & Participants
<< Back
Next >>
Definitions

## Evaluated Savings
|  | Demand Savings | Energy Savings
| Program Name | (kW) | (kWh) | Participants | Participant Definition
1 | Residential Products | 0 | 0 | 0 | Customer | 0
2 | School-Based Energy Education | 0 | 0 | 0 | Customer | 0
3 | Commercial and Industrial (Custom) | 0 | 0 | 0 | Customer | 0
4 | Commercial and Industrial (Prescriptive) | 0 | 0 | 0 | Customer | 0
5 | Energy Efficiency Arkansas | 0 | 0 | 0 | Population | 0
6 | Online Energy Calculator | 0 | 0 | 0 | Customer | 0
7 | Weatherization | 0 | 0 | 0 | Homes | 0
8 | Empty |  |  |  |  | 0
9 | Empty |  |  |  |  | 0
10 | Empty |  |  |  |  | 0
11 | Empty |  |  |  |  | 0
12 | Empty |  |  |  |  | 0
13 | Empty |  |  |  |  | 0
14 | Empty |  |  |  |  | 0
15 | Empty |  |  |  |  | 0
16 | Empty |  |  |  |  | 0
17 | Empty |  |  |  |  | 0
18 | Empty |  |  |  |  | 0
19 | Empty |  |  |  |  | 0
20 | Empty |  |  |  |  | 0
| Total: | 0 | 0 | 0 |  | 0
Programs savings reported are net savings and do not include adjustments for leakage.
Actual Expenses
Evaluated Savings
Cost-Benefits
LCFC
Incentives
Not Used
Main Menu
Instructions: Provide evaluated net savings and participant results. Provide the methodology for energy savings by clicking the "Methodology for Energy Savings" button.
Empire - 2022 Program Year Evaluation
Evaluated Savings
<< Back
Next >>
Methodology for Energy Savings

## Savings Methodology
Methodology for Calculating Net Energy Savings
|  |  | Deemed Savings | Custom Savings | Other Savings | Total Savings
|  | Program Name | (kWh) | (kWh) | (kWh) | (kWh)
| 1 | Residential Products | 0 |  |  | 0
| 2 | School-Based Energy Education | 0 |  |  | 0
| 3 | Commercial and Industrial (Custom) | 0 |  |  | 0
| 4 | Commercial and Industrial (Prescriptive) | 0 |  |  | 0
| 5 | Energy Efficiency Arkansas | 0 |  |  | 0
| 6 | Online Energy Calculator | 0 |  |  | 0
| 7 | Weatherization | 0 |  |  | 0
| 8 | Empty |  |  |  | 0
| 9 | Empty |  |  |  | 0
| 10 | Empty |  |  |  | 0
| 11 | Empty |  |  |  | 0
| 12 | Empty |  |  |  | 0
| 13 | Empty |  |  |  | 0
| 14 | Empty |  |  |  | 0
| 15 | Empty |  |  |  | 0
| 16 | Empty |  |  |  | 0
| 17 | Empty |  |  |  | 0
| 18 | Empty |  |  |  | 0
| 19 | Empty |  |  |  | 0
| 20 | Empty |  |  |  | 0
|  | Total Portfolio: | 0 | 0 | 0 | 0 | 0
Back

## Cost-Benefits
|  | Net Energy Savings |  |  | Total Resource Cost Test (TRC)
|  | Annualized Energy Saved | Effective NTGR | Lifetime Energy Savings | Total Cost | Total Benefits | Total Net Benefits | TRC | Weighted Measure Life | TRC Levelized Cost
| Program Name | (kWh) | Ratio | (MWh) | ($000's) | ($000's) | ($000's) | Ratio |  | ($/kWh)
1 | Residential Products | 0 | 0.83 | 0 | 0 | 0 | 0 | n/a | #DIV/0! | n/a | 0
2 | School-Based Energy Education | 0 | 0.91622 | 0 | 0 | 0 | 0 | n/a | #DIV/0! | n/a | 0
3 | Commercial and Industrial (Custom) | 0 | 0 | 0 | 0.54 | 0 | -0.54 | 0 | #DIV/0! | n/a | 0
4 | Commercial and Industrial (Prescriptive) | 0 | 0.99 | 0 | 0 | 0 | 0 | n/a | #DIV/0! | n/a | 0
5 | Energy Efficiency Arkansas | 0 | 0 | 0 | 0.35257 | 0 | -0.35257 | 0 | #DIV/0! | n/a | 0
6 | Online Energy Calculator | 0 | 0 | 0 | 5990 | 0 | -5990 | 0 | #DIV/0! | n/a | 0
7 | Weatherization | 0 | 0.93359 | 1152.9001 | 0 | 0 | 0 | n/a | #DIV/0! | n/a | 0
8 | Empty | 0 |  |  |  |  | 0 | n/a | #DIV/0! | n/a | 0
9 | Empty | 0 |  |  |  |  | 0 | n/a | #DIV/0! | n/a | 0
10 | Empty | 0 |  |  |  |  | 0 | n/a | #DIV/0! | n/a | 0
11 | Empty | 0 |  |  |  |  | 0 | n/a | #DIV/0! | n/a | 0
12 | Empty | 0 |  |  |  |  | 0 | n/a | #DIV/0! | n/a | 0
13 | Empty | 0 |  |  |  |  | 0 | n/a | #DIV/0! | n/a | 0
14 | Empty | 0 |  |  |  |  | 0 | n/a | #DIV/0! | n/a | 0
15 | Empty | 0 |  |  |  |  | 0 | n/a | #DIV/0! | n/a | 0
16 | Empty | 0 |  |  |  |  | 0 | n/a | #DIV/0! | n/a | 0
17 | Empty | 0 |  |  |  |  | 0 | n/a | #DIV/0! | n/a | 0
18 | Empty | 0 |  |  |  |  | 0 | n/a | #DIV/0! | n/a | 0
19 | Empty | 0 |  |  |  |  | 0 | n/a | #DIV/0! | n/a | 0
20 | Empty | 0 |  |  |  |  | 0 | n/a | #DIV/0! | n/a | 0
| Portfolio Total: | 0 |  | 1152.9001 | 5990.8926 | 0 | -5990.8926 | 0 | #DIV/0! | n/a | 0
| Regulatory Cost: |  |  |  | 10882
Programs savings reported are net savings and do not include adjustments for leakage.
TRC Levelized Cost = Total TRC Cost x Capital Recovery Factor (CRF) / Incremental Annual Net Energy Savings.
The CRF is based on weighted average measure life (Lifetime Energy Savings / Annualized Energy Saved) and the discount rate.
Actual Expenses
Evaluated Savings
Cost-Benefits
LCFC
Incentives
Not Used
Main Menu
Instructions: Provide the required TRC components. Provide "Key Assumptions" , "NEBs", and "Other Cost-Benefit Test" by clicking on the action buttons.
Empire - 2022 Program Year Evaluation
Cost-Benefits
<< Back
Next >>
Other Cost-Benefit Test
Key Assumptions
NEBs

## Key Assumptions
Key Assumptions
| Discount Rate | Data |  |  |  |  | Notes/Source Documents
1 | Nominal Discount Rate (%) | 5.71% |  |  |  |  | 2015 Empire SARP, Key Assumptions tab | 0
2 | Inflation Rate (%) | 3.063% |  |  |  |  | MO IRP 2019
3 | Real Discount Rate | 3.37%
Program Benefits
| Avoided Energy Costs | [Class 1] | [Class 2] | [Class 3] | [Class 4] | [Class 5] | Notes/Source Documents
4 | Natural Gas ($/MMBtu)
5 | On-Peak ($/MWh) | 18.9851
6 | Off-Peak ($/MWh) | 18.9851
7 | Carbon Cost BY ($/ton)
8 | Carbon Cost BY (YYYY)
9 | Carbon Cost EY (YYYY)
10 | [Line Loss Category] | 0.097294 |  |  |  |  | Residential Service, 2015 Empire SARP, Key Assumptions tab
11 | [Line Loss Category] | 0.093836 |  |  |  |  | Small General Service, 2015 Empire SARP, Key Assumptions tab
12 | [Line Loss Category] | 0.076372 |  |  |  |  | Large General Service, 2015 Empire SARP, Key Assumptions tab
13 | [Line Loss Category] | 0.076372 |  |  |  |  | Large Industrial Power, 2015 Empire SARP, Key Assumptions tab
| [Line Loss Category] | 0.093836 |  |  |  |  | Agricultural Pumping, 2015 Empire SARP, Key Assumptions tab
| Avoided Capacity Cost | [Class 1] | [Class 2] | [Class 3] | [Class 4] | [Class 5] | Notes/Source Documents
14 | Proxy Unit $/kW
15 | Proxy Unit In Service Date
16 | RECC ($/kw-yr) | 167.26 |  |  |  |  | 2015 Empire SARP, Key Assumptions tab, escalated to 2017
17 | RECC BY (YYYY)
18 | RECC EY (YYYY)
19 | Market Price ($/kw-yr)
20 | Market Price BY (YYYY)
21 | Market Price EY (YYYY)
22 | Capacity Reserve Margin
23 | Marginal Distribution ($/kw-yr)
24 | Marginal Transmission ($/kw-yr)
| NEBs | [Class 1] | [Class 2] | [Class 3] | [Class 4] | [Class 5] | Notes/Source Documents
25 | Electricity ($/kWh) | [5 empty] | N/A
26 | Natural Gas ($/Therm) | 0.59566 |  |  |  |  | Local natural gas utility avoided cost used by ADM
27 | LPG ($/gallon) | 2 |  |  |  |  | TRM version 7.0 Page 88 text, Section II Protocol L
28 | Water ($/gallon) | 0.00714 |  |  |  |  | TRM version 7.0 Table 8, Avoided Water Costs in Arkansas, Section II Protocol L
29 | Waste Water ($/gallon) | 0.00714 |  |  |  |  | TRM version 7.0 Table 8, Avoided Water Costs in Arkansas, Section II Protocol L
30 | Avoided Replacement Cost ($PV) | [5 empty] | Calculator provided by IEM
31 | Deferred Replacement Cost ($PV) | [5 empty] | N/A
Notes:
| 1 | Certain assumptions may not be applicable to some utilities.
| 2 | If there are multiple data values (e.g. annual avoided costs) presented elsewhere (e.g. in testimony) then reference source document.
| 3 | Notes/Source Documents column is provided for further definition of the data and/or references to source documents.
Back
Instructions: Provide the Key Assumptions used in the Cost-Effectiveness Test. If information is by class, provide the class levels. For each assumption provide a reference to the source document., if applicable.

## NEBs
NEBs
|  | Electric Savings |  | Natural Gas Savings |  | Propane Savings |  | Water/Waste Water |  | Replacement Cost |  | Total NPV $
| Program Name | Annual KWh | NPV $ | Annual Therms | NPV $ | Annual Gallons | NPV $ | Annual Gallons | NPV $ | Avoided NPV $ | Deferred NPV $
1 | Residential Products | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
2 | School-Based Energy Education | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
3 | Commercial and Industrial (Custom) | 0 | [9 empty] | 0
4 | Commercial and Industrial (Prescriptive) | 0 | [9 empty] | 0
5 | Energy Efficiency Arkansas | 0 | [9 empty] | 0
6 | Online Energy Calculator | 0 | [9 empty] | 0
7 | Weatherization | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
8 | 0 | [10 empty] | 0
9 | 0 | [10 empty] | 0
10 | 0 | [10 empty] | 0
11 | 0 | [10 empty] | 0
12 | 0 | [10 empty] | 0
13 | 0 | [10 empty] | 0
14 | 0 | [10 empty] | 0
15 | 0 | [10 empty] | 0
16 | 0 | [10 empty] | 0
17 | 0 | [10 empty] | 0
18 | 0 | [10 empty] | 0
19 | 0 | [10 empty] | 0
20 | 0 | [10 empty] | 0
| Total: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
1
2
3
4
5
Instructions: Provide the TRC NEB units (kWh, Therms, Gallons) and monetized benefits at the porgram level for each program. In the notes section below provide the annual report page reference for NEBs.
Back

## Other CB Test
Cost-Effectiveness Test
Incomplete - All 'yellow' shaded cells must be completed.
|  | Participant Cost Test (PCT) |  | Ratepayer Impact Measure (RIM) |  | Program Administrator Cost (PAC) |  | Societal Test (SCT)
| Program Name | Net Benefits ($000's) | Ratio | Net Benefits ($000's) | Ratio | Net Benefits ($000's) | Ratio | Net Benefits ($000's) | Ratio
1 | Residential Products | 0 | 6.0158 | 0 | 0.33666 | 0 | 1.4026 |  |  | 1
2 | School-Based Energy Education | 0 | 6.3882 | 0 | 0.28035 | 0 | 0.7932 |  |  | 1
3 | Commercial and Industrial (Custom) | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1
4 | Commercial and Industrial (Prescriptive) | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1
5 | Energy Efficiency Arkansas | 0 | 0 | -0.35257 | 0 | -0.35257 | 0 |  |  | 1
6 | Online Energy Calculator | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1
7 | Weatherization | 0 | 4.9296 | 0 | 0.41149 | 0 | 1.8644 |  |  | 1
8 | 0 | [8 empty] | 1
9 | 0 | [8 empty] | 1
10 | 0 | [8 empty] | 1
11 | 0 | [8 empty] | 1
12 | 0 | [8 empty] | 1
13 | 0 | [8 empty] | 1
14 | 0 | [8 empty] | 1
15 | 0 | [8 empty] | 1
16 | 0 | [8 empty] | 1
17 | 0 | [8 empty] | 1
18 | 0 | [8 empty] | 1
19 | 0 | [8 empty] | 1
20 | 0 | [8 empty] | 1
| Total Portfolio: | 0 | 5.5569 | 0 | 0.35361 | -0.35257 | 1.2845 | 0 |  | 1
21
Back

## LCFC
Current Programs
|  | 2022 LCFC Energy Savings (kWh) |  |  | 2022 LCFC Cost Recovery ($)
| Program Name | 2022 | 2021 | Prior to 2021 | 2022 | 2021 | Prior to 2021
1 | Residential Products | 0 | 30717 | 0 | 0 | 2172.0912
2 | School-Based Energy Education | 0 | 24444 | 212194 | 0 | 1728.5086 | 15433.443
3 | Commercial and Industrial (Custom) | 0 | 0 | 364129 | 0 | 0 | 25677.5135
4 | Commercial and Industrial (Prescriptive) | 0 | 0 | 137302 | 0 | 0 | 9350.6781
5 | Energy Efficiency Arkansas | 0 | 0 | 0 | 0 | 0 | 0
6 | Online Energy Calculator | 0 | 0 | 0 | 0 | 0 | 0
7 | Weatherization | 0 | 0 | 349081 | 0 | 0 | 25395.3919
8 | Empty
9 | Empty
10 | Empty
11 | Empty
12 | Empty
13 | Empty
14 | Empty
15 | Empty
16 | Empty
17 | Empty
18 | Empty
19 | Empty
20 | Empty
| Total: | 0 | 55161 | 1062706 | 0 | 3900.5998 | 75857.0265
|  | 2022 LCFC Energy Savings (kWh) |  |  | 2022 LCFC Cost Recovery ($)
|  | 2022 | 2021 | Prior to 2021 |  | 2021 | Prior to 2021
| Discontinued Programs | N/A | 0 | 173573 | N/A | 0 | 12644.7864
[6 empty] | Total LCFC Recovery for Program Year 2022: | 92402.4127
|  |  | Is the Utility currently operating under a Formula Rate Plan (FRP)? | No
If Yes, provide the effective date of FRP.
Programs savings reported are net savings and include adjustments for leakage.
Actual Expenses
Evaluated Savings
Cost-Benefits
LCFC
Incentives
Not Used
Main Menu
Instructions: Provide the LCFC Energy Savings and Cost Recovery for the PY's . The LCFC Cost Recovery should be directly related to the LCFC Energy Savings. The LCFC Cost Recovery ($) should reflect the LCFC $'s based on the actual evaluated energy savings for the reporting year. Total LCFC $ should directly tie to the actual LCFC cliamed in the EECR True-up for the reporting year.
Empire - 2022 Program Year Evaluation
Lost Contributions to Fixed Cost
<< Back
Next >>

## Not Used2 (hidden)
NOT USED - HELD FOR FUTURE USE
Actual Expenses
Evaluated Savings
Cost-Benefits
LCFC
Incentives
Not Used
Main Menu
Instructions:
Empire - 2022 Program Year Evaluation
Not Used
<< Back
Next >>

## Glossary (hidden)
Glossary
Term | Definition
Actual Expenditures | Actual spending for a program/portfolio for the program year being reported.
Annual Energy Savings | Energy savings realized for a full year. (8,760 hours)
Benefit Cost Ratio | The ratio of the total benefits of the program to the total costs over the life of the measure discounted as appropriate.
Customer Savings | Savings that are derived from custom measures where deemed savings are not addressed in the currently approved TRM.
Deemed Savings | A "book" estimate of the gross energy savings (kWh or therms) or gross demand savings (kW or therms) for a single unit of an installed EE measure that (a) has been developed from data sources and analytical methods that are widely considered acceptable for the measure and purpose and (b) is applicable to the set of measures undergoing evaluation. This information is found in the TRM on the APSC website and is subject to updates effective for estimation of EE savings associated with measures installed since the beginning of the year in which the updated version is approved. See Volume 2, Section 1.6.
Demand | The time rate of energy flow. Demand usually refers to electric power measured in kW but can also refer to natural gas, usually as Btu/hr or therms/day, etc.. The level at which electricity or natural gas is delivered to users at a given point in time.
Demand Savings | Demand that did not occur due to the installation of an EE measure. (non-coincident peak)
Energy Sales | Energy sold by the utility in the calendar year.
Energy Savings | Energy use that did not occur due to the installation of an EE measure.
Gross Savings | The change in energy consumption and/or demand that results directly from program-related actions taken by participants in an efficiency program, regardless of why they participated.
Initial Budget | EE budget approved by the Commission for the program year being reported. This would include any modifications to budgets approved by a specific Commission order.
kW | A Kilowatt is a measure of electric demand - 1000 watts.
kWh | The basic unit of electric energy usage over time. One kWh is equal to one kW of power supplied to a circuit for a period of one hour.
LCFC Energy Savings | For the current Program Year, the sum of eligible net energy savings from (1) measures installed in prior Program Years (8,760 hours) and (2) measures installed in current Program Year as adjusted for time of installation, weather, etc. (less than 8,760 hours). Clarification of item (1) above: The savings reported in the current year should only reflect the current year impact of measures installed in prior years but, should not include the savings claimed and reported in prior years.
Lifetime | The expected useful life, in years, that an installed measure will be in service and producing savings.
Lifetime Energy Savings | The sum of the energy savings through the measure's useful life.
Measures | Specific technology or practice that produces energy and/or demand savings as a result of a ratepayer's participation in a Utility/TPA EE Program.
Net Benefits | The program benefits minus the program costs discounted at the appropriate rate.
Net Savings | The total change in load (energy or demand) that is attributable to an EE Program. This change in load may include, implicitly or explicitly, the effects of free drivers, free riders, EE standards, changes in the level of energy service, and other causes of changes in energy consumption or demand.
Net-to-Gross Ratio (NTGR) | A factor representing net program savings divided by gross program savings that is applied to gross program impacts, converting them into net program load impacts.
Other Savings | Savings for which no deemed savings exist and no custom M&V was performed.
Participant Cost Test (PCT) | A cost-effectiveness test that measures the economic impact to the participating customer of adopting an EE measure.
Participant | A consumer that received a service offered through the subject efficiency program, in a given Program Year. The term "service" is used in this definition to suggest that the service can be a wide variety of services, including financial rebates, technical assistance, product installations, training, EE information or other services, items, or conditions. Each evaluation plan should define "participant" as it applies to the specific evaluation and in accordance with the C&EE Rules and/or State law.
Plan Savings | Annual energy savings budgeted by the utility for the Program Year.
Portfolio | Either (a) a collection of similar programs addressing the same market (e.g., a portfolio of residential programs), technology (e.g., motor-efficiency programs), or mechanisms (e.g., loan programs) or (b) the set of all programs conducted by one organization, such as a utility (and which could include programs that cover multiple markets, technologies, etc..).
Program Administrator Cost (PAC) Test | The Program Administrator Cost Test measures the net costs of a demand-side management program as a resource option based on the costs incurred by the program administrator (including incentives costs) and excluding any net costs incurred by the participant.
Program Year | The Year in which programs are administered and delivered, for the purposes of planning and reporting, a Program Year shall be considered a calendar year, January 1 - December 31.
Program | A group of projects, with similar characteristics and installed in similar applications. Examples could include a utility program to install energy-efficiency lighting in commercial buildings, a developer's program to build a subdivision of homes that have photovoltaic systems, or a state residential EE code program.
Ratepayer Impact Measure (RIM) Test | The Ratepayer Impact Measure test measures what happens to customer bills or rates due to changes in utility revenues and operating costs caused by the program.
Revised Budget | EE Budget the utility used for the program year being reported. This budget may be different from the Initial Budget, if the Commission has granted the utility the flexibility to modify its program budgets.
Sales as Adjusted for SD Exemptions | The utility's 2010 Annual Energy Sales minus the 2010 Annual Energy Sales of the customers granted self-direct exemptions by Commission Order.
Total Resource Cost (TRC) Test | The Total Resource Cost Test measures the net costs of a demand-side management program as a resource option based on the total costs of the program, including both the participants' and the utility's costs.
TRC Levelized Cost | The total costs of the program to the utility and its ratepayers on a per kWh or per them basis levelized over the life of the program.
Main Menu

## Definition-Program Type (hidden)
Program-Type Definitions
Term | Definition
Audit - C&I | Programs in which an energy assessment is performed on one or more participant commercial or industrial facilities to identify sources of potential energy waste and measures to reduce that waste.
Behavior/Education | Residential programs designed around directly influencing household habits and decision-making on energy consumption through numerical or graphical feedback on consumption, sometimes accompanied by tips on saving energy. These programs include behavioral feedback programs (in which energy usage reports compare a consumer's household energy usage with those of similar consumers); online audits that are completed by the consumer; and in-home displays that help consumers assess their usage in real time. These programs do not include on-site energy assessments or audits.
Consumer Product Rebate | Programs that incentivize the sale, purchase and installation of energy efficient measures/equipment and or devices (e.g., refrigerators, dishwashers, clothes washers, dryers, electronics, lighting, lighting fixtures, lighting controls, etc.) that are more efficient than those meeting minimum energy performance standards. All rebate/incentive delivery channels are included (Coupon, upstream retail, upstream manufacturing, web based, point of sale, etc.). Further, these programs typically do not include the local participating contractor (HVAC, Insulation, Auditing, etc.) for installation or incentives/rebates.
Custom | Programs designed around the delivery of site-specific projects typically characterized by an extensive onsite energy assessment and identification and installation of multiple measures unique to that facility. These measures are likely to vary significantly from site to site
Demand Response | Demand response programs
Financing | Residential - Financing programs for residential projects. As with other programs, costs here are utility costs, including the costs of any inducements for lenders, e.g., loan loss reserves, interest rate buy downs, etc. C&I - Projects designed to increase loan financing for C&I energy efficiency projects. As with other programs, program costs here are any costs paid by the PA out of utility-customer funds, including, e.g., loan loss reserves or other credit enhancements, interest rate buy downs, etc., - but not including rebates. Where participant costs are available for collection, these ideally will include the total customer share, i.e., both principal (the participant payment to purchase and install measures) and interest on that debt. Most of these programs will be directed toward enhancing credit or financing for commercial structures.
Market Specific/Hard to Reach | Multi-family and mobile homes programs are designed to encourage the installation of energy efficient measures in common areas, units or both for residential structures of more than four units. These programs may be aimed at building owners/managers, tenants or both. This program may include rebate, direct install and auditing incentives/services.
New Construction | Residential - Programs that provide incentives and possibly technical services to ensure new homes are built or manufactured to energy performance standards higher than applicable code, e.g., ENERGY STAR Homes. These programs include new multi-family and new/replacement mobile homes. C&I - Programs that incentivize owners or builders of new commercial or industrial facilities to design and build beyond current code or to a certain certification level, e.g., ENERGY STAR or LEED.
Other | Programs not captured by any of the specific Residential, Industrial or Commercial categories but are sufficiently detailed or distinct to not be treated as a "general" program. Example: An EE program aimed specifically at the commercial subsector but is not clearly prescriptive or custom in nature might be classified as C&I: Other.
Prescriptive/Standard Offer | Prescriptive programs that encourage the purchase and installation of some or all of a specified set of pre-approved measures.
Measure/Technology Focus | Residential Programs that focus on specific a technology or a limited technology that require additional verification, quality control and/or includes specific design engineering prior to installation. Such programs can include water heating programs, pool pumps, HVAC "right sizing" replace on burn out or retrofit. Like the Consumer Product rebate program the Measure/Technology focus program must exceed standards in Arkansas. Unlike the Consumer Product programs these programs will usually require the recruitment and training of installation contractors and reporting from installation contractors followed by quality control practices.
Whole Home | Whole-home energy upgrade or retrofit programs combine a comprehensive energy assessment or audit that identifies energy savings opportunities with house-wide improvements in air sealing, insulation and, often, HVAC systems and other end uses. The HVAC improvements may range from duct sealing to a tune up to full replacement of the HVAC systems. Whole-home programs are designed to address a wide variety of individual measures and building systems, including but not limited to: HVAC equipment, thermostats, furnaces, boilers, heat pumps, water heaters, fans, air sealing, insulation (attic, wall, and basement), windows, doors, skylights, lighting, and appliances. As a result, whole­ home programs generally involve one or more rebates for multiple measures. Whole-home programs generally come in two types: comprehensive programs that are broad in scope and less comprehensive, prescriptive programs sometimes referred to as "bundled efficiency" programs. This category addresses all of the former and most of the latter, but it excludes direct-install programs that are accounted for separately and completed outside this program.
Back

## Definition-Participants (hidden)
Definitions - Participants
Term | Definition
Accounts | The number of individually metered accounts. A participating customer may have more than one account.
Customer | The number of specific end-users identified by a unique customer identifier. A single customer may have one or more accounts.
Equipment | The specific number of units of energy efficiency equipment installed through the program.
Homes | The number of residences where assessments were conducted and/or energy efficiency measure(s) installed.
Measure | The number of energy efficiency units installed or performed through the program.
Population | Available number of customers within a specific class code, i.e., Residential, Commercial, etc. If the population refers to the Commercial and Industrial sectors, it may need to be reduced by the number of approved self-direct customers.
Projects | The number of jobs identified by a unique project identifier. A project may include a single measure or a group of measures.
Back

## Definition-Res (hidden)
Program Definitions - Residential
Term | Definition
Behavior/Education | Residential programs designed around directly influencing household habits and decision-making on energy consumption through numerical or graphical feedback on consumption, sometimes accompanied by tips on saving energy. These programs include behavioral feedback programs (in which energy usage reports compare a consumer's household energy usage with those of similar consumers); online audits that are completed by the consumer; and in-home displays that help consumers assess their usage in real time. These programs do not include on-site energy assessments or audits.
Consumer Product Rebate/Appliances | Programs that incentivize the sale, purchase and installation of appliances (e.g., refrigerators, dishwashers, clothes washers and dryers) that are more efficient than those meeting minimum energy performance standards. Appliance recycling and the sale/purchase/installation of HVAC equipment, water heaters and consumer electronics are accounted for separately.
Consumer Product Rebate/Electronics | Programs that encourage the availability and purchase/lease of more efficient personal and household electronic devices, including but not limited to televisions, set-top boxes, game consoles, advanced power strips, cordless telephones, PCs and peripherals specifically for home use, chargers for phones/smart phones/tablets.
Consumer Product Rebate/Lighting | Programs aimed specifically at encouraging the sale/purchase and installation of more efficient lighting in the home. These programs range widely from point-of-sale rebates to CFL mailings or giveaways. Measures tend to be CFLs, fluorescent fixtures, LED lamps, LED fixtures, LED holiday lights and lighting controls, including occupancy monitors/switches.
Consumer Product Rebate/Appliance Recycling | Programs designed to remove less efficient appliances (typically refrigerators and freezers) from households.
Demand Response - Load Control | A demand response activity by which the program sponsor or program administer remotely shuts down or cycles a customer's electrical equipment (e.g., air conditioner, water heater) on short notice. Direct load control programs are primarily offered to residential or small commercial customers. Also known as direct control load management.
Demand Response - Price/Time Base | A) Interruptible Load: A demand response program where electric consumption is subject to curtailment or interruption under tariffs contracts that provide a rate discount or bill credit for agreeing to reduce load during system contingencies. In some instances, the demand reduction may be effected by action of the System Operator (remote tripping) after notice to the customer in accordance with contractual provisions. b) Time of Use Pricing: Demand-side management that uses a retail rate or Tariff in which customers are charged different prices for using electricity at different times during the day. Examples are time-of-use rates, real time pricing, hourly pricing, and critical peak pricing. Time-based rates do not include seasonal rates, inverted block, or declining block rates.
Financing | Financing programs for residential projects. Costs here are utility costs, including the costs of any inducements for lenders, e.g., loan loss reserves, interest rate buy downs, etc.
Manufactured Homes | Manufactured programs are designed to encourage the installation of energy efficient measures in manufactured homes.
Measure/Technology Focus - HVAC/Furnace | Programs designed to encourage the distribution, sale/purchase, proper sizing and installation of HVAC systems that are more efficient than current standards. Programs tend to support activities that focus on central air conditioners, air source heat pumps, ground source heat pumps, and ductless systems that are more efficient than current energy performance standards, as well as climate controls and the promotion of quality installation and quality maintenance.
Measure/Technology Focus - Insulation | Programs designed to encourage the sale/purchase and installation of insulation in residential structures, often through per-square-foot incentives for insulation of specific R­ values versus existing baseline. Programs may be point-of-sale rebates or rebates to insulation installation contractors.
Measure/Technology Focus - Pool Pumps | Programs that incentivize the installation of higher efficiency or variable speed pumps and controls, such as timers, for swimming pools.
Measure/Technology Focus - Water Heater | Programs designed to encourage the distribution, sale/purchase and installation of electric and gas water-heating systems that are more efficient than current standards, including high efficiency water storage tank and tankless systems.
Measure/Technology Focus - Windows | Programs designed to encourage the sale/purchase and installation of efficient windows in residential structures.
Multi-Family | Multi-family programs are designed to encourage the installation of energy efficient measures in common areas, units or both for residential structures of more than four units. These programs may be aimed at building owners/managers, tenants or both.
Other | All residential programs not specifically captured in the other residential program categorizations.
Whole Home/Audits | Residential audit programs provide a comprehensive, standalone assessment of a home's energy consumption and identification of opportunities to save energy. The scope of the audit includes the whole home although the thoroughness and completeness of the audit may vary widely from a modest examination and simple engineering-based modeling of the physical structure to a highly detailed inspection of all spaces, testing for air leakage/exchange rates, testing for HVAC duct leakage and highly resolved modeling of the physical structure with benchmarking to customer utility bills.
Whole Home/Direct Install | Direct-install programs provide a set of pre-approved measures that may be installed at the time of a visit to the customer premises or provided as a kit to the consumer, usually at modest or no cost to the consumer and sometimes accompanied by a rebate. Typical measures include CFLs, low-flow showerheads, faucet aerators, water-heater wrap and weather stripping. Such programs also may include a basic, walk-through energy assessment or audit, but the savings are principally derived from the installation of the provided measures.
Whole Home/Retrofit | Whole-home energy upgrade or retrofit programs combine a comprehensive energy assessment or audit that identifies energy savings opportunities with house-wide improvements in air sealing, insulation and, often, HVAC systems and other end uses. The HVAC improvements may range from duct sealing to a tune up to full replacement of the HVAC systems. Whole-home programs are designed to address a wide variety of individual measures and building systems, including but not limited to: HVAC equipment, thermostats, furnaces, boilers, heat pumps, water heaters, fans, air sealing, insulation (attic, wall, and basement), windows, doors, skylights, lighting, and appliances. As a result, whole­ home programs generally involve one or more rebates for multiple measures. Whole-home programs generally come in two types: comprehensive programs that are broad in scope and less comprehensive, prescriptive programs sometimes referred to as "bundled efficiency" programs. This category addresses all of the former and most of the latter, but it excludes direct-install programs that are accounted for separately.
Back

## Definition-C&I (hidden)
Program Definitions - Commercial & Industrial
Term | Definition
Audit | Programs in which an energy assessment is performed on one or more participant commercial or industrial facilities to identify sources of potential energy waste and measures to reduce that waste.
Custom | Programs designed around delivery of site-specific projects typically characterized by an extensive onsite energy assessment and identification and installation of multiple measures unique to that facility. These measures may vary significantly from site to site. This category is intended to capture "whole-building" approaches to commercial sector efficiency opportunities for a wide range of building types and markets (e.g., office, retail) and wide range of measures.
Custom/Agriculture | Farm- and orchard-based agricultural programs that primarily involve irrigation pumping and do not include agricultural refrigeration or processing at scale.
Custom/Data Centers | Data center programs are custom-designed around large-scale server floors or farms that often serve high-tech, banking or academia. Projects tend to be site­ specific and involve some combination of lighting, servers, networking devices, cooling/chillers, and energy management systems/software. Several of these may be of experimental or proprietary design.
Custom/Industrial Processes | Industrial programs deliver custom-designed projects that are characterized by an onsite energy and process efficiency assessment and a site-specific measure set that may include, for example, substantial changes in a manufacturing line. This category includes all EE program work at industrial sites that is not otherwise covered by the single-measure prescriptive programs below,e.g., lighting, HVAC, water heaters. This category therefore includes, but is not limited to, all industrial and agricultural process efficiency, all non-single measure efficiency activities inside and on industrial buildings.
Custom/Refrigerator Warehouses | Warehouse programs are aimed at large-scale refrigerated storage. Typical end uses are lighting, climate controls and refrigeration systems.
Demand Response - Load Control | a) Direct Load Control: A demand response activity by which the program sponsor or program administer remotely shuts down or cycles a customer's electrical equipment (e.g., air conditioner, water heater) on short notice. Direct load control programs are primarily offered to residential or small commercial customers. Also known as direct control load management. b) Demand Response Program: A demand response program that provides incentive payments to customers for load reductions achieved during an Emergency Demand Response Event. c) Interruptible Load: A demand response program where electric consumption is subject to curtailment or interruption under tariffs contracts that provide a rate discount or bill credit for agreeing to reduce load during system contingencies. In some instances, the demand reduction may be effected by action of the System Operator (remote tripping) after notice to the customer in accordance with contractual provisions.
Demand Response - Price/Time Base Response | a) Critical Peak Pricing: Demand-side management that combines direct load control with a pre-specified high price for use during designated critical peak periods, triggered by system contingencies or high wholesale market prices. b) Critical Peak Pricing with Load Control: Demand-side management that combines direct load control with a pre-specified high price for use during designated critical peak periods, triggered by system contingencies or high wholesale market prices. c) Peak Time Rebate: Peak time rebates allow customers to earn a rebate by reducing energy use from a baseline during a specified number of hours on critical peak days. Like Critical Peak Pricing, the number of critical peak days is usually capped for a calendar year and is linked to conditions such as system reliability concerns or very high supply prices. d) Real time pricing: Demand-side management that uses rate and price structure in which the retail price for electricity typically fluctuates hourly or more often, to reflect changes in the wholesale price of electricity on either a day-ahead or hour-ahead basis. e) Time of Use Pricing: Demand-side management that uses a retail rate or Tariff in which customers are charged different prices for using electricity at different times during the day. Examples are time-of-use rates, real time pricing, hourly pricing, and critical peak pricing. Time-based rates do not include seasonal rates, inverted block, or declining block rates.
Financing | Programs designed to increase loan financing for C&I energy efficiency projects. As with other programs, program costs here are any costs paid by the PA out of utility-customer funds, including, e.g., loan loss reserves or other credit enhancements, interest rate buy downs, etc.,- but not including rebates. Where participant costs are available for collection, these ideally will include the total customer share, i.e., both principal (the participant payment to purchase and install measures) and interest on that debt. Most of these programs will be directed toward enhancing credit or financing for commercial structures.
Govt/Nonprofit/MUSH | MUSH (Municipal, University, School & Hospital) and government and non-profit programs cover a broad swath of program types generally aimed at public and institutional facilities. Examples include incentives and/or technical assistance to promote energy efficiency upgrades for elementary schools, recreation halls and homeless shelters. Street lighting is accounted for separately.
Other | Programs not captured by any of the specific C&I categories but are sufficiently detailed or distinct to not be treated as a "general" program. Ex ample: An EE program aimed specifically at the C&I subsector but is not clearly prescriptive or custom in nature might be classified as C&I: Other.
Prescriptive/Grocery | Grocery programs are prescriptive programs aimed at supermarkets and are designed around indoor and outdoor lighting and refrigerated display cases.
Prescriptive/HVAC | C&I HVAC programs encourage the sale/purchase and installation of heating, cooling and chiller systems at higher efficiency than current energy performance standards, across a broad range of unit sizes and configurations. Most of these programs will be directed toward commercial structures.
Prescriptive/IT or Office | Programs aimed at improving the efficiency of office equipment, chiefly commercially available PCs, printers, monitors, networking devices and mainframes not rising to the scale of a server farm or floor.
Prescriptive/Industrial | Prescriptive programs that encourage the purchase and installation of some or all of a specified set of pre-approved industrial measures besides those covered in other measure-specific prescriptive programs.
Prescriptive/Lighting | C&I lighting programs incentivize the installation of higher efficiency lighting and controls, compared to the existing baseline. Most of these programs will be directed toward commercial structures. Typical measures might include T-8/T-5 fluorescent lamps and fixtures; CFLs and fixtures; LEDs for lighting, displays, signs and refrigerated lighting; metal halide and ceramic lamps and fixtures; occupancy controls; daylight dimming; and timers.
Prescriptive/Motors | Motors programs usually offer a prescribed set of approved higher efficiency motors, with industrial motors programs typically getting the largest savings from larger, high powered motors (>200 hp).
Prescriptive/Small Commercial | Prescriptive programs applied to small commercial facilities. (See definition of prescriptive programs for additional detail.) Such programs may range from a walk-through audit and direct installation of a few pre-approved measures to a fuller audit and a fuller package of measures.
Street Lighting | Street lighting programs include incentives and/or technical support for the installation of higher efficiency street lighting and traffic lights than current baseline.
Back

## Definition-CS (hidden)
Program Definitions - Cross Sector
Term | Definition
Codes & Standards | In C&S programs, the PA may engage in a variety of activities designed to advance the adoption, application or compliance level of building codes and end-use energy performance standards. Examples might include advocacy at the state or federal level for higher standards for HVAC equipment; training of architects, engineers and builder/developers on compliance; and training of building inspectors in ensuring the codes are met.
Market Transformation | Market transformation programs include programs aimed primarily at reducing market barriers to the adoption of more efficient goods and services rather than acquiring energy savings, per se. MT programs are gauged by their market effects, e.g., increased awareness of energy efficient technologies among customers and suppliers; reduced prices for more efficient models; increased availability of more efficient models; and ultimately, increased market share for energy efficient goods, services and design practices. Example programs might include upstream incentives to manufacturers to make more efficient goods more commercially available; and point-of-sale or installation incentives for emerging technologies that are not yet cost effective. Workforce training and development programs are covered by a separate category. Upstream incentives for commercially available goods are sorted into the program categories for those goods, e.g., consumer electronics or HVAC.
Marketing, Education, Outreach | ME&O programs include most standalone marketing, education and outreach programs, e.g., development and delivery of in-school energy and water efficiency curricula; and statewide marketing, outreach and brand development.
Multi-Sector Rebates | Multi-sector rebate programs include providing incentives for commercially available end-use goods for multiple sectors, e.g., PCs, HVAC.
Other | This category is intended to capture all programs that cannot be allocated to a specific sector (or are multi-sectoral) and cannot be allocated to a specific program type.
Research | These programs are aimed generally at helping the PA identify new opportunities for energy savings, e.g., research on emerging technologies or conservation strategies. Research conducted on new program types or the inclusion of new, commercially available measures in an existing program are accounted for separately under cross-cutting program support.
Shading/Cool Roofs | Shading/reflective programs include programs designed to lessen heating and cooling loads through generally changes to the exterior of a structure, e.g., tree plantings to shade walls and windows ,window screens and cool/reflective roofs. These programs are not necessarily specific to a sector.
Voltage Reduction | Programs that support investments in pre-meter system savings, typically by the program administrator. The most common form of these programs are voltage regulation programs that reduce voltage (within reliability parameters) during select time periods. Other measures may include purchase of higher efficiency transformers.
Workforce Development | Workforce training and development programs are a distinct category of market transformation program designed to provide the underlying skills and labor base for deployment of energy-efficiency measures.
Back

## Cost (hidden)
Program Cost Type
Planning / Design | Marketing & Delivery
Program planning cost | Advertising costs including, but not limited to, educational/promotional
Program design cost | materials, website development and updates
Research and development cost | TV/Radio ads
Request for proposal preparation and evaluation | Payment to AEO for EEA program
Consultants used for program design and planning | Commercial and Industrial energy audits
Company employee costs relating to program design, planning and | Personnel costs for performing marketing and delivery functions
research and development | Costs of processing rebates
Database development/update costs
Trade ally training events
Incentives / Direct Install Costs | Costs to support other EE related events and organizations
Rebates | Measurement and Verification costs as related to direct program/project/measure
Water conservation kits | costs to validate savings within the utility program (i.e. customer projects) and
Interruptible credits or payments | outside of independent EM&V
Payments to contractors for weatherization services
Direct install costs for all programs with direct install provisions | EM&V
Coupons and upstream program incentives | Payments to consultants for preparation/update of Deemed Savings and
Residential energy audits | Technical Reference Manual
Consultants costs for IEM and independent third party evaluations
Administration | Regulatory
Utility company personnel training costs | Outside counsel legal fees for EE dockets
Utility company EE personnel salary and benefits not charged elsewhere | Travel costs related to EE dockets
Overhead costs (office space, vehicles, etc.) | Costs for preparing annual reports and EECR filings, including costs related to
performing the required cost effectiveness tests
Costs related to regulatory specific collaborative meetings and events
Back to Instructions
Back to Budgets
Back to Expenses

## List (hidden)
Target Sectors and Program-Type Name
Target Sector | Order | Program Type | Delivery Channel | Participant List
N/A | 11 | Audit - C&I | Coupon Redemption | Accounts
******Single-Class****** |  | Behavior/Education | Direct Install | Customer
Residential | 1 | Consumer Product Rebate | Implementing Contractor | Equipment
Small Business | 2 | Custom | Retail Outlets | Homes
Commercial & Industrial | 4 | Demand Response | Self-Install | Measure
Municipalities/Schools | 7 | Financing | Statewide Administrator | Population
Agriculture | 8 | Market Specific/Hard to Reach | Trade Ally | Projects
Other | 10 | New Construction | Utility Outreach (email/direct mail)
******Multi-Class****** |  | Other | Website
Res/Small Business | 3 | Prescriptive/Standard Offer
Res/C&I | 5 | Measure/Technology Focus
Small Business/C&I | 6 | Whole Home
All Classes | 9
Back

## Prior Year Program
Historical Data (Program Data - Prior Two Years)
KD Updated 4_19
| Current Programs |  | Annual Budget & Actual Costs |  |  |  | Annual Net Energy Savings (kWh) |  |  |  | Annual Net Demand Savings (kW) |  |  |  | Number of Participants
|  |  | 2020 |  | 2021 |  | 2020 |  | 2021 |  | 2020 |  | 2021 |  | 2020 |  | 2021
| Program Name | Target Sector | Budget | Actual | Budget | Actual | Plan | Evaluated | Plan | Evaluated | Plan | Evaluated | Plan | Evaluated | Plan | Evaluated | Plan | Evaluated
1 | Residential Products | Residential | 20416.6667 | 19118.36 | 20416.6667 | 15208 | 82484 | 90140 | 99138 | 30717 | 43.2 | 12 | 8.3 | 4.99 | 650 | 699 | 525 | 397
2 | School-Based Energy Education | Residential | 14841.6667 | 14657.57 | 14841.6667 | 17244 | 60611 | 26214 | 92418 | 24444 | 82.3 | 3 | 8.5 | 2.83 | 315 | 326 | 315 | 304
3 | Commercial and Industrial (Custom) | Commercial & Industrial | 9414.6667 | 1150 | 9414.6667 | 3808 | 25929 | 0 | 25929 | 0 | 5.6 | 0 | 5.6 | 0 | 1 | 0 | 1 | 0
4 | Commercial and Industrial (Prescriptive) | Commercial & Industrial | 21410 | 3354 | 21410 | 0 | 135563 | 18130 | 99582 | 0 | 26.6 | 5 | 19.3 | 0 | 4 | 1 | 4 | 0
5 | Energy Efficiency Arkansas | All Classes | 1499 | 1499.22 | 1499 | 353 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
6 | Online Energy Calculator | All Classes | 2000 | 3995 | 2000 | 3006 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
7 | Weatherization | Residential |  |  |  | 27388 |  |  | 102270 | 67429 |  |  | 14.4 | 23.8 |  |  | 20 | 17
8 | 0 | 0
9 | 0 | 0
10 | 0 | 0
11 | 0 | 0
12 | 0 | 0
13 | 0 | 0
14 | 0 | 0
15 | 0 | 0
16 | 0 | 0
17 | 0 | 0
18 | 0 | 0
19 | 0 | 0
20 | 0 | 0
| 0 |  | 10000 | 17000 | 5401 | 15191.31
|  | Total Portfolio - Current Programs | 79582 | 60774.15 | 74983 | 82198.31 | 304587 | 134484 | 419337 | 122590 | 157.7 | 20 | 56.1 | 31.62 | 970 | 1026 | 865 | 718
Note any changes made to a program in the primary reporting year that differ from the prior two years.
| Discontinued Programs |  | Annual Budget & Actual Costs |  |  |  | Annual Net Energy Savings (kWh) |  |  |  | Annual Net Demand Savings (kW) |  |  |  | Number of Participants
|  |  | 2020 |  | 2021 |  | 2020 |  | 2021 |  | 2020 |  | 2021 |  | 2020 |  | 2021
| Program Name | Target Sector | Budget | Actual | Budget | Actual | Plan | Evaluated | Plan | Evaluated | Plan | Evaluated | Plan | Evaluated | Plan | Evaluated | Plan | Evaluated
1
2
3
4
5
6
7
8
9
10
|  | Total Portfolio - Discontinued Programs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total Portfolio - Prior Two Years | 79582 | 60774.15 | 74983 | 82198.31 | 304587 | 134484 | 419337 | 122590 | 157.7 | 20 | 56.1 | 31.62 | 970 | 1026 | 865 | 718
|  |  | 0 | 0 | 0 | 0 | -304357.715 | -134164.194 | -418917.663 | -122467.41
Main Menu
Portfolio Data
Instructions: Provide the information listed below for the past two years for each program being reported in the primary program year. Any discontinued programs that provided saivings in the prior two years are to be reported at the bottom in the "Discontinued Programs" section.
NOTE: This information can be copied from the previous years workbook'Next Annual Report Load Data' section.
Use the 'Portfolio Data' button to input prior Company Statistic Data.

## Prior Year Portfolio
Historical Data (Portfolio Data - Prior Four Years)
|  | Company Statistics |  | EE Portfolio
|  | Revenue and Sales |  | Costs |  | Savings (MWh)
| Program Year | Revenue | Sales (MWh) | Budget | Actual | Plan | Actual
| 2021 | 15845620.43 | 164926.91 | 74983 | 82198.31 | 419.337 | 122.59 | 0
| 2020 | 15625234.21 | 175460.5084 | 79582 | 60774.15 | 229.285 | 319.806 | 0
| 2019 | 16598535.41 | 175629.718 | 157229 | 78639 | 228.104 | 209.6417 | 0
| 2018 | 15213456.03 | 170907.907 | 136426 | 77853.63 | 226.924 | 155.025 | 0
0
Back
Instructions: Provide the information for the Years listed below. This information can be copied from the previous years workbook'Next Annual Report Load Data' section.
Main Menu

## Data
Portfolio Information
Program Name | Sector | Type | Channel | Planning / Design | Marketing & Delivery | Incentives / Direct Install Costs | EM&V | Administration | Total | Demand Savings | Energy Savings | Participants
Residential Products | Residential | Consumer Product Rebate | Self-Install | 0 | 21436.6667 | 0 | 0 | 0 | 21436.6667 | 8.3 | 99138 | 525
School-Based Energy Education | Residential | Consumer Product Rebate | Self-Install | 0 | 14841.6667 | 0 | 0 | 0 | 14841.6667 | 8.5 | 92418 | 315
Commercial and Industrial (Custom) | Commercial & Industrial | Custom | Trade Ally | 0 | 6303.6667 | 3111 | 0 | 0 | 9414.6667 | 5.6 | 25929 | 1
Commercial and Industrial (Prescriptive) | Commercial & Industrial | Prescriptive/Standard Offer | Trade Ally | 0 | 9078.19 | 8843.81 | 0 | 0 | 17922 | 19.3 | 99582 | 4
Energy Efficiency Arkansas | All Classes | Behavior/Education | Statewide Administrator | 0 | 1409 | 0 | 0 | 0 | 1409 | 0 | 0 | 0
Online Energy Calculator | All Classes | Behavior/Education | Trade Ally | 0 | 2000 | 0 | 0 | 0 | 2000 | 0 | 0 | 0
Weatherization | Residential | Whole Home | Trade Ally | 0 | 42000 | 0 | 0 | 0 | 42000 | 14.4 | 102270 | 20
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Regulatory | - | - | - | [5 empty] | 9500
|  |  |  | 0 | 97069.19 | 11954.81 | 0 | 0 | 118524 | 56.1 | 419337 | 865
Program Year Evaluation
Program Name | Sector | Type | Channel | Planning / Design | Marketing & Delivery | Incentives / Direct Install Costs | EM&V | Administration | Total | Demand Savings | Energy Savings | Participants | Lifetime Savings | TRC Total Cost | TRC Total Benefits | TRC Net Benefits | TRC Ratio | TRC Levelized Cost
Residential Products | Residential | Consumer Product Rebate | Self-Install | 0 | 0 | 1010.32 | 0 | 0 | 1010.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
School-Based Energy Education | Residential | Consumer Product Rebate | Self-Install | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Commercial and Industrial (Custom) | Commercial & Industrial | Custom | Trade Ally | 0 | 0 | 540 | 0 | 0 | 540 | 0 | 0 | 0 | 0 | 0.54 | 0 | -0.54 | 0 | n/a
Commercial and Industrial (Prescriptive) | Commercial & Industrial | Prescriptive/Standard Offer | Trade Ally | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Energy Efficiency Arkansas | All Classes | Behavior/Education | Statewide Administrator | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35257 | 0 | -0.35257 | 0 | n/a
Online Energy Calculator | All Classes | Behavior/Education | Trade Ally | 0 | 5990 | 0 | 0 | 0 | 5990 | 0 | 0 | 0 | 0 | 5990 | 0 | -5990 | 0 | n/a
Weatherization | Residential | Whole Home | Trade Ally | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1152.9001 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Regulatory | - | - | - | [5 empty] | 10882
|  |  |  | 0 | 5990 | 1550.32 | 0 | 0 | 18422.32 | 0 | 0 | 0 | 1152.9001 | 5990.8926 | 0 | -5990.8926 | 0 | 0
History | Budgets |  |  |  | Savings Energy |  |  |  | Savings Demand |  |  |  | Participants
Program Name | Budget | Actual | Budget | Actual | Plan | Evaluated | Plan | Evaluated | Plan | Evaluated | Plan | Evaluated | Plan | Evaluated | Plan | Evaluated
Residential Products | 20416.6667 | 19118.36 | 20416.6667 | 15208 | 82484 | 90140 | 99138 | 30717 | 43.2 | 12 | 8.3 | 4.99 | 650 | 699 | 525 | 397
School-Based Energy Education | 14841.6667 | 14657.57 | 14841.6667 | 17244 | 60611 | 26214 | 92418 | 24444 | 82.3 | 3 | 8.5 | 2.83 | 315 | 326 | 315 | 304
Commercial and Industrial (Custom) | 9414.6667 | 1150 | 9414.6667 | 9414.6667 | 25929 | 0 | 25929 | 0 | 5.6 | 0 | 5.6 | 0 | 1 | 0 | 1 | 0
Commercial and Industrial (Prescriptive) | 21410 | 3354 | 9414.6667 | 3808 | 135563 | 18130 | 99582 | 0 | 26.6 | 5 | 19.3 | 0 | 4 | 1 | 4 | 0
Energy Efficiency Arkansas | 1499 | 1499.22 | 21410 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Online Energy Calculator | 2000 | 3995 | 2000 | 3006 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Weatherization | 0 | 0 | 0 | 27388 | 0 | 0 | 102270 | 67429 | 0 | 0 | 14.4 | 23.8 | 0 | 0 | 20 | 17
Empty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Empty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Order
Order | Program Name | Program Name | Sector | Channel | Group | Rank | Program Name
18 | Residential Products | *Hide* | #N/A | #N/A | 13 | 8 | Residential Products
19 | School-Based Energy Education | *Hide* | #N/A | #N/A | 13 | 9 | School-Based Energy Education
14 | Commercial and Industrial (Custom) | *Hide* | #N/A | #N/A | 13 | 10 | Weatherization
15 | Commercial and Industrial (Prescriptive) | *Hide* | #N/A | #N/A | 13 | 11 | Commercial and Industrial (Custom)
16 | Energy Efficiency Arkansas | *Hide* | #N/A | #N/A | 13 | 12 | Commercial and Industrial (Prescriptive)
17 | Online Energy Calculator | *Hide* | #N/A | #N/A | 13 | 13 | Online Energy Calculator
20 | Weatherization | *Hide* | #N/A | #N/A | 13 | 14 | Energy Efficiency Arkansas
13 | *Hide* | *Hide* | #N/A | #N/A | 13 | 15 | *Hide*
13 | *Hide* | *Hide* | #N/A | #N/A | 13 | 16 | *Hide*
13 | *Hide* | *Hide* | #N/A | #N/A | 13 | 17 | *Hide*
13 | *Hide* | *Hide* | #N/A | #N/A | 13 | 18 | *Hide*
13 | *Hide* | *Hide* | #N/A | #N/A | 13 | 19 | *Hide*
13 | *Hide* | *Hide* | #N/A | #N/A | 13 | 20 | *Hide*
13 | *Hide* | Commercial and Industrial (Custom) | Commercial & Industrial | Trade Ally | 4 | 4 | *Hide*
13 | *Hide* | Commercial and Industrial (Prescriptive) | Commercial & Industrial | Trade Ally | 4 | 5 | *Hide*
13 | *Hide* | Energy Efficiency Arkansas | All Classes | Statewide Administrator | 12 | 7 | *Hide*
13 | *Hide* | Online Energy Calculator | All Classes | Trade Ally | 9 | 6 | *Hide*
13 | *Hide* | Residential Products | Residential | Self-Install | 1 | 1 | *Hide*
13 | *Hide* | School-Based Energy Education | Residential | Self-Install | 1 | 2 | *Hide*
13 | *Hide* | Weatherization | Residential | Trade Ally | 1 | 3 | *Hide*

## Tables
Table 1
Demand | Energy | Actual Expenses | LCFC | Incentives | TRC Net $ | TRC Ratio | PAC Ratio | Target | Achieved | % Achieved
0 | 0 | 18422.32 | 92402.4127 | n/a | -5990.8926 | 0 | 1.2845 | #REF! | #REF! | #REF!
Table 2
Program Name | Sector | Type | Budget | Actual
Residential Products | Residential | Consumer Product Rebate | 21436.6667 | 1010.32
School-Based Energy Education | Residential | Consumer Product Rebate | 14841.6667 | 0
Weatherization | Residential | Whole Home | 42000 | 0
Commercial and Industrial (Custom) | Commercial & Industrial | Custom | 9414.6667 | 540
Commercial and Industrial (Prescriptive) | Commercial & Industrial | Prescriptive/Standard Offer | 17922 | 0
Online Energy Calculator | All Classes | Behavior/Education | 2000 | 5990
Energy Efficiency Arkansas | All Classes | Behavior/Education | 1409 | 0
*Hide* | - | - | - | -
*Hide* | - | - | - | -
*Hide* | - | - | - | -
*Hide* | - | - | - | -
*Hide* | - | - | - | -
*Hide* | - | - | - | -
*Hide* | - | - | - | -
*Hide* | - | - | - | -
*Hide* | - | - | - | -
*Hide* | - | - | - | -
*Hide* | - | - | - | -
*Hide* | - | - | - | -
*Hide* | - | - | - | -
Regulatory | - | - | 9500 | 10882
Table 3
Type | Budget | Actual
Planning / Design | 0 | 0
Marketing & Delivery | 97069.19 | 5990
Incentives / Direct Install Costs | 11954.81 | 1550.32
EM&V | 0 | 0
Administration | 0 | 0
Regulatory | 9500 | 10882
Table 4
Year | Revenue | Sales | EE Budget | EE Expense | Plan | Evaluated
2018 | 15213456.03 | 170907.907 | 136426 | 77853.63 | 226.924 | 155.025
2019 | 16598535.41 | 175629.718 | 157229 | 78639 | 228.104 | 209.6417
2020 | 15625234.21 | 175460.5084 | 79582 | 60774.15 | 229.285 | 319.806
2021 | 15845620.43 | 164926.91 | 74983 | 82198.31 | 419.337 | 122.59
2022 | 17797583 | 169635 | 118524 | 18422.32 | 419.337 | 0
0.22412
0.30313
Report 1
Program Name | Target Sector | Budget | Actual | Plan | Evaluated | Plan | Actual | Ratio | Cost | Benefits |  | Rank
Residential Products | Residential | 21436.6667 | 1010.32 | 99138 | 0 | 525 | 0 | n/a | 0 | 0 | 1010.32 | 19 | Online Energy Calculator
School-Based Energy Education | Residential | 14841.6667 | 0 | 92418 | 0 | 315 | 0 | n/a | 0 | 0 | 0 | 17 | Residential Products
Weatherization | Residential | 42000 | 0 | 102270 | 0 | 20 | 0 | n/a | 0 | 0 | 0 | 16 | Commercial and Industrial (Custom)
Commercial and Industrial (Custom) | Commercial & Industrial | 9414.6667 | 540 | 25929 | 0 | 1 | 0 | 0 | 0.54 | 0 | 540 | 18 | School-Based Energy Education
Commercial and Industrial (Prescriptive) | Commercial & Industrial | 17922 | 0 | 99582 | 0 | 4 | 0 | n/a | 0 | 0 | 0 | 15 | Weatherization
Online Energy Calculator | All Classes | 2000 | 5990 | 0 | 0 | 0 | 0 | 0 | 5990 | 0 | 5990 | 20 | Commercial and Industrial (Prescriptive)
Energy Efficiency Arkansas | All Classes | 1409 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35257 | 0 | 0 | 14 | Energy Efficiency Arkansas
*Hide* | - | - | - | - | - | - | - | - | - | - | 0 | 13 | *Hide*
*Hide* | - | - | - | - | - | - | - | - | - | - | 0 | 12 | *Hide*
*Hide* | - | - | - | - | - | - | - | - | - | - | 0 | 11 | *Hide*
*Hide* | - | - | - | - | - | - | - | - | - | - | 0 | 10 | *Hide*
*Hide* | - | - | - | - | - | - | - | - | - | - | 0 | 9 | *Hide*
*Hide* | - | - | - | - | - | - | - | - | - | - | 0 | 8 | *Hide*
*Hide* | - | - | - | - | - | - | - | - | - | - | 0 | 7 | *Hide*
*Hide* | - | - | - | - | - | - | - | - | - | - | 0 | 6 | *Hide*
*Hide* | - | - | - | - | - | - | - | - | - | - | 0 | 5 | *Hide*
*Hide* | - | - | - | - | - | - | - | - | - | - | 0 | 4 | *Hide*
*Hide* | - | - | - | - | - | - | - | - | - | - | 0 | 3 | *Hide*
*Hide* | - | - | - | - | - | - | - | - | - | - | 0 | 2 | *Hide*
*Hide* | - | - | - | - | - | - | - | - | - | - | 0 | 1 | *Hide*
Report 2
| Rank | Budget | Actual | Plan | Evaluated | Plan | Actual | Cost | Benefits | Net | Ratio |  | Order
Residential | 10 | 78278.3333 | 1010.32 | 293826 | 0 | 860 | 0 | 0 | 0 | 0 | n/a |  | Residential
Small Business | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a |  | Commercial & Industrial
Commercial & Industrial | 9 | 27336.6667 | 540 | 125511 | 0 | 5 | 0 | 0.54 | 0 | -0.54 | 0 |  | All Classes
Municipalities/Schools | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a |  | Small Business
Agriculture | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a |  | Municipalities/Schools
Other | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a |  | Agriculture
Res/Small Business | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a |  | Other
Res/C&I | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a |  | Res/Small Business
Small Business/C&I | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a |  | Res/C&I
All Classes | 8 | 3409 | 5990 | 0 | 0 | 0 | 0 | 5990.3526 | 0 | -5990.3526 | 0 |  | Small Business/C&I
|  | Budget | Actual | Plan | Evaluated |  | Value
Residential |  | 78278.3333 | 1010.32 | 293826 | 0 |  | 293826
Commercial & Industrial |  | 27336.6667 | 540 | 125511 | 0 |  | 125511
All Classes |  | 3409 | 5990 | 0 | 0 |  | 0
Small Business |  | 0 | 0 | 0 | 0 |  | 0
Municipalities/Schools |  | 0 | 0 | 0 | 0 |  | 0
Agriculture |  | 0 | 0 | 0 | 0 |  | 0
Other |  | 0 | 0 | 0 | 0 |  | 0
Res/Small Business |  | 0 | 0 | 0 | 0 |  | 0
Res/C&I |  | 0 | 0 | 0 | 0 |  | 0
Small Business/C&I |  | 0 | 0 | 0 | 0 |  | 0
|  | Budget | Actual | Plan | Evaluated
Online Energy Calculator |  | 2000 | 5990 | 0 | 0
Residential Products |  | 21436.6667 | 1010.32 | 99138 | 0
Commercial and Industrial (Custom) |  | 9414.6667 | 540 | 25929 | 0
School-Based Energy Education |  | 14841.6667 | 0 | 92418 | 0
Weatherization |  | 42000 | 0 | 102270 | 0
Commercial and Industrial (Prescriptive) |  | 17922 | 0 | 99582 | 0
Energy Efficiency Arkansas |  | 1409 | 0 | 0 | 0
*Hide* |  | - | - | - | -
*Hide* |  | - | - | - | -
*Hide* |  | - | - | - | -
*Hide* |  | - | - | - | -
*Hide* |  | - | - | - | -
*Hide* |  | - | - | - | -
*Hide* |  | - | - | - | -
*Hide* |  | - | - | - | -
*Hide* |  | - | - | - | -
*Hide* |  | - | - | - | -
*Hide* |  | - | - | - | -
*Hide* |  | - | - | - | -
*Hide* |  | - | - | - | -

## Table 1
Table 1
2022 Portfolio Summary
Net Energy Savings |  | Costs |  |  | Cost-Effectiveness |  |  | Goal Achievement
Demand | Energy | Actual Expenditures | LCFC | Performance Incentives | TRC Net Benefits | TRC Ratio | PAC Ratio | Commission Established Target | Actual Savings Achieved | % of Target Achieved
MW | MWh |  |  |  | (NPV) |  |  | % of Baseline | % of Baseline | (%)
0 | 0 | 18422.32 | 92402.4127 | N/A | -5990.8926 | 0 | 1.2845 | N/A | N/A | N/A
Work Book is Incomplete - Click Here For Details-
Main Menu
Next >>

## Table 2
Table 2
EE Portfolio Expenditures by Program
|  |  | 2022 |  | % of Budget
|  |  | Budget | Actual
Program Name | Target Sector | Program Type | ($) | ($)
Residential Products | Residential | Consumer Product Rebate | 21436.6667 | 1010.32 | 4.713% | 0
School-Based Energy Education | Residential | Consumer Product Rebate | 14841.6667 | 0 | 0% | 0
Weatherization | Residential | Whole Home | 42000 | 0 | 0% | 0
Commercial and Industrial (Custom) | Commercial & Industrial | Custom | 9414.6667 | 540 | 5.736% | 0
Commercial and Industrial (Prescriptive) | Commercial & Industrial | Prescriptive/Standard Offer | 17922 | 0 | 0% | 0
Online Energy Calculator | All Classes | Behavior/Education | 2000 | 5990 | 299.5% | 0
Energy Efficiency Arkansas | All Classes | Behavior/Education | 1409 | 0 | 0% | 0
*Hide* | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | 0
Regulatory | - | - | 9500 | 10882 | 114.5% | 0
|  | Total | 118524 | 18422.32 | 15.54% | 0
Main Menu
Next >>
<< Back

## Table 3
Table 3
EE Portfolio Expenditure Summary by Cost Type
2022 Total Expenditures
| % of | Budget | Actual | % of
Cost Type | Total | ($) | ($) | Total
Planning / Design | 0% | 0 | 0 | 0%
Marketing & Delivery | 81.9% | 97069.19 | 5990 | 32.51%
Incentives / Direct Install Costs | 10.09% | 11954.81 | 1550.32 | 8.415%
EM&V | 0% | 0 | 0 | 0%
Administration | 0% | 0 | 0 | 0%
Regulatory | 8.015% | 9500 | 10882 | 59.07%
| 100% | 118524 | 18422.32 | 100%
Main Menu
Next >>
<< Back

## Table 4
Table 4
Company Statistics
Program Year | Revenue and Expenditures |  |  |  |  | Energy
| Total Revenue (a) | Budget |  | Actual |  | Total Annual Energy Sales (d) | Plan |  | Evaluated
|  | Portfolio Budget (b) | % of Revenue | Portfolio Spending (c) | % of Revenue |  | Net Annual Savings (e) | % of Energy Sales | Net Annual Savings (f) | % of Energy Sales
| ($000's) | ($000's) | (%=b/a) | ($000's) | (%=c/a) | (MWh) | (MWh) | (%=e/d) | (MWh) | (%=f/d)
2018 | 15213.456 | 136.426 | 0.8967% | 77.8536 | 0.5117% | 170907.907 | 226.924 | 0.1328% | 155.025 | 0.09071%
2019 | 16598.5354 | 157.229 | 0.9472% | 78.639 | 0.4738% | 175629.718 | 228.104 | 0.1299% | 209.6417 | 0.1194%
2020 | 15625.2342 | 79.582 | 0.5093% | 60.7741 | 0.3889% | 175460.5084 | 229.285 | 0.1307% | 319.806 | 0.1823%
2021 | 15845.6204 | 74.983 | 0.4732% | 82.1983 | 0.5187% | 164926.91 | 419.337 | 0.2543% | 122.59 | 0.07433%
2022 | 17797.583 | 118.524 | 0.666% | 18.4223 | 0.1035% | 169635 | 419.337 | 0.2472% | 0 | 0%
Main Menu
Next >>
<< Back

## Table 5
Table 5
Energy Efficiency Arkansas |  |  | Select program from dropdown menu to view details.
Energy Efficiency Arkansas
| Expenditures |  |  | Energy Savings (kWh) |  |  | Demand Savings (kW) |  |  | Participants
Program | Budget | Actual | % | Plan | Evaluated | % | Plan | Evaluated | % | Plan | Actual | %
Program Year 2020 | 2000 | 3995 | 199.8% | 0 | 0 | - | 0 | 0 | - | 1158 | 1659 | 143.3%
Program Year 2021 | 2000 | 3006 | 150.3% | 0 | 0 | - | 0 | 0 | - | 0 | 0 | -
Program Year 2022 | 1409 | 0 | 0% | 0 | 0 | - | 0 | 0 | - | 0 | 0 | -
Main Menu
<< Back

## Report 1
Report 1
2022 Portfolio Results Detail
|  | Costs |  |  | Savings (kWh) |  |  | Participants |  |  | TRC Ratio
Program Name | Target Sector | Budget | Actual | % | Plan | Evaluated | % | Plan | Actual | %
Residential Products | Residential | 21436.6667 | 1010.32 | 4.713% | 99138 | 0 | 0% | 525 | 0 | 0% | n/a | 0
School-Based Energy Education | Residential | 14841.6667 | 0 | 0% | 92418 | 0 | 0% | 315 | 0 | 0% | n/a | 0
Weatherization | Residential | 42000 | 0 | 0% | 102270 | 0 | 0% | 20 | 0 | 0% | n/a | 0
Commercial and Industrial (Custom) | Commercial & Industrial | 9414.6667 | 540 | 5.736% | 25929 | 0 | 0% | 1 | 0 | 0% | 0 | 0
Commercial and Industrial (Prescriptive) | Commercial & Industrial | 17922 | 0 | 0% | 99582 | 0 | 0% | 4 | 0 | 0% | n/a | -1
Online Energy Calculator | All Classes | 2000 | 5990 | 299.5% | 0 | 0 | - | 0 | 0 | - | 0 | -1
Energy Efficiency Arkansas | All Classes | 1409 | 0 | 0% | 0 | 0 | - | 0 | 0 | - | 0 | -1
*Hide* | - | - | - | - | - | - | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | - | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | - | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | - | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | - | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | - | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | - | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | - | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | - | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | - | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | - | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | - | - | - | - | - | - | 0
*Hide* | - | - | - | - | - | - | - | - | - | - | - | 0
Regulatory |  | 9500 | 10882 | [8 empty] | 0
| TOTAL: | 118524 | 18422.32 | 15.54% | 419337 | 0 | 0% | 865 | 0 | 0% | 0 | -3
Select all cells in Program Name column and press Shift+Ctrl+9 to unhide all rows.
Main Menu
Next >>

## Report 2
Report 2
2022 Portfolio Results Detail by Target Sector
| Costs |  |  | Savings (kWh) |  |  | Participants |  |  | TRC Ratio
Target Sector | Budget | Actual | % | Plan | Evaluated | % | Plan | Actual | %
Residential | 78278.3333 | 1010.32 | 1.291% | 293826 | 0 | 0% | 860 | 0 | 0% | n/a
Small Business | 0 | 0 | - | 0 | 0 | - | 0 | 0 | - | n/a
Commercial & Industrial | 27336.6667 | 540 | 1.975% | 125511 | 0 | 0% | 5 | 0 | 0% | 0
Municipalities/Schools | 0 | 0 | - | 0 | 0 | - | 0 | 0 | - | n/a
Agriculture | 0 | 0 | - | 0 | 0 | - | 0 | 0 | - | n/a
Other | 0 | 0 | - | 0 | 0 | - | 0 | 0 | - | n/a
Res/Small Business | 0 | 0 | - | 0 | 0 | - | 0 | 0 | - | n/a
Res/C&I | 0 | 0 | - | 0 | 0 | - | 0 | 0 | - | n/a
Small Business/C&I | 0 | 0 | - | 0 | 0 | - | 0 | 0 | - | n/a
All Classes | 3409 | 5990 | 175.7% | 0 | 0 | - | 0 | 0 | - | 0
| - | - | - | - | - | - | - | - | - | -
TOTAL | 109024 | 7540.32 | 6.916% | 419337 | 0 | 0% | 865 | 0 | 0% | 0
Select the Data to be Displayed in Chart
Savings (kWh) |  | Actual Expense
Savings (kWh)
Main Menu
Next >>
<< Back

## Report 3
Report 3
Level of Adoption of NAPEE "Best Practices" (Issue #8)
| Item # | 1a. |  | 1b. | 1c. |  | 2a. |  | 2b. |  | 3a.
| Program Year | FTEs | FTEs / $1M of EE Spending | Training Sessions Attended | Training Sessions Man-Hours | EE Total Portfolio Expenditures (A) | Planning & Design (B) | As % of Total Portfolio Expenditures | Implementa- tion (C) (C=A-B-D) | As % of Total Portfolio Expenditures | EM&V (D) | As % of Total Portfolio Expenditures
[6 empty] | ($000's) | ($000's) | (%=B/A) | ($000's) | (%=C/A) | ($000's) | (%=D/A)
| 2022 | 1 | 54.282 | 0 | 0 | 18.4223 | 0 | 0% | 18.4223 | 100% | 0 | 0%
Index to Docket No. 10-010-U Issue #8 Items
|  | Item # | Description | [6 empty] | Where Available?
|  | 1 | Program Staffing and Training Requirements | [6 empty] | Above
|  | 2 | DSM Program Design & Implementation | [6 empty] | Above
|  | 3 | DSM Program Evaluation | [6 empty] | Above
|  | 4 | Estimation of DSM Resource Potential | [6 empty] | Narrative Section 1.0
|  | 5 | Shareholder Incentives for Program Performance | [6 empty] | Incentives Section
|  | 6 | Resource Planning with Energy Efficiency | [6 empty] | Narrative Section 1.0
|  | 7 | Utility Best Practices Guidance for Providing Business Customers with Energy Use Cost Data | [6 empty] | Narrative Section 3.3
|  | 8 | Customer Incentives for Energy Efficiency Through Electric and Natural Gas Rate Design | [6 empty] | Narrative Section 3.3
Main Menu
<< Back

## PY Data
Program Year Data
2022 Portfolio Data
|  |  |  | Expenses |  | Energy Savings (kWh) |  | Demand Savings (kW) |  | Participants |  | TRC
Program Name | Target Sector | Program Type | Delivery Channel | Budget | Actual | Plan | Evaluated | Plan | Evaluated | Plan | Actual | Lifetime Savings (MWh) | Total Cost | Total Benefits | Net Benefits | Ratio | Levelized cost
Residential Products | Residential | Consumer Product Rebate | Self-Install | 21436.6667 | 1010.32 | 99138 | 0 | 8.3 | 0 | 525 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
School-Based Energy Education | Residential | Consumer Product Rebate | Self-Install | 14841.6667 | 0 | 92418 | 0 | 8.5 | 0 | 315 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Commercial and Industrial (Custom) | Commercial & Industrial | Custom | Trade Ally | 9414.6667 | 540 | 25929 | 0 | 5.6 | 0 | 1 | 0 | 0 | 0.54 | 0 | -0.54 | 0 | n/a
Commercial and Industrial (Prescriptive) | Commercial & Industrial | Prescriptive/Standard Offer | Trade Ally | 17922 | 0 | 99582 | 0 | 19.3 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Energy Efficiency Arkansas | All Classes | Behavior/Education | Statewide Administrator | 1409 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35257 | 0 | -0.35257 | 0 | n/a
Online Energy Calculator | All Classes | Behavior/Education | Trade Ally | 2000 | 5990 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5990 | 0 | -5990 | 0 | n/a
Weatherization | Residential | Whole Home | Trade Ally | 42000 | 0 | 102270 | 0 | 14.4 | 0 | 20 | 0 | 1152.9001 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Empty |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Main Menu

## Next Years
Historical Data (Next Annual Report)
|  |  | Annual Budget & Actual Cost |  |  |  | Annual Net Energy Savings (kWh) |  |  |  | Annual Net Demand Savings (kW)
|  |  | 2021 |  | 2022 |  | 2021 |  | 2022 |  | 2021 |  | 2022
| Program Name | Target Sector | Budget | Actual | Budget | Actual | Plan | Evaluated | Plan | Evaluated | Plan | Evaluated | Plan | Evaluated
1 | Residential Products | Residential | 20416.6667 | 15208 | 21436.6667 | 1010.32 | 99138 | 30717 | 99138 | 0 | 8.3 | 4.99 | 8.3 | 0
2 | School-Based Energy Education | Residential | 14841.6667 | 17244 | 14841.6667 | 0 | 92418 | 24444 | 92418 | 0 | 8.5 | 2.83 | 8.5 | 0
3 | Commercial and Industrial (Custom) | Commercial & Industrial | 9414.6667 | 3808 | 9414.6667 | 540 | 25929 | 0 | 25929 | 0 | 5.6 | 0 | 5.6 | 0
4 | Commercial and Industrial (Prescriptive) | Commercial & Industrial | 21410 | 0 | 17922 | 0 | 99582 | 0 | 99582 | 0 | 19.3 | 0 | 19.3 | 0
5 | Energy Efficiency Arkansas | All Classes | 1499 | 353 | 1409 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Online Energy Calculator | All Classes | 2000 | 3006 | 2000 | 5990 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Weatherization | Residential | 0 | 27388 | 42000 | 0 | 102270 | 67429 | 102270 | 0 | 14.4 | 23.8 | 14.4 | 0
8 | Empty |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | Empty |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Empty |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Empty |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Empty |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Empty |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | Empty |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Empty |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | Empty |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | Empty |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | Empty |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | Empty |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Empty |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Regulatory |  | 5401 | 15191.31 | 9500 | 10882
|  | Total Portfolio - Current Programs | 74983 | 82198.31 | 118524 | 18422.32 | 419337 | 122590 | 419337 | 0 | 56.1 | 31.62 | 56.1 | 0
[5 empty] | Company Statistics |  | EE Portfolio
[5 empty] | Revenue and Sales |  | Expenses |  | Savings (kWh)
|  |  |  | Program Year | Revenue | Sales (kWh) | Budget | Actual | Budget | Actual
|  |  |  | 2022 | 17797583 | 169635 | 118524 | 18422.32 | 419337 | 0
|  |  |  | 2021 | 15845620.43 | 164926.91 | 74983 | 82198.31 | 419.337 | 122.59
|  |  |  | 2020 | 15625234.21 | 175460.5084 | 79582 | 60774.15 | 229.285 | 319.806
|  |  |  | 2019 | 16598535.41 | 175629.718 | 157229 | 78639 | 228.104 | 209.6417
Main Menu

## Titles (hidden)
Tab | EE Portfolio Information |  | Utility | Empire
1 | Utility Information |  | Year | 2022
2 | Program Descriptions |  | Utility Type | Electric
3 | Budgets
4 | Savings & Participants |  | Title 1 | Empire - 2022 EE Portfolio Information
5 | Training |  | Title 2 | Empire - 2022 Program Year Evaluation
6 | Not Used
|  |  | Title 3 | 2022 EE Portfolio Information
|  |  | Title 4 | 2022 Program Year Evaluation
|  |  | Title 5 | Historical Information
Tab | Program Year Evaluation
1 | Actual Expenses |  | Electric
2 | Evaluated Savings |  | Energy 1 | kWh
3 | Cost-Benefits |  | Energy 2 | MWh
4 | LCFC | Lost Contributions to Fixed Cost | Demand 1 | kW
5 | Incentives | Utility Performance Incentives | Demand 2 | MW
6 | Not Used
Utilities
Electric
Natural Gas
| Energy 1 | Energy 2
Electric | kWh | MWh
Natural Gas | Therms | Therms
| Demand 1 | Demand 2
Electric | kW | MW
Natural Gas | Therms | Therms
Empty List

## Incomplete (hidden)
Status Report
1 | EE Portfolio Information |  | Cells Incomplete | Status |  | Cells Incomplete | Status
| a). | Utility Information | 0 | ü | Table 1 |  | -
| b). | Program Descriptions | #REF! | #REF! | Table 2 | 0 | ü
|  | »Program Detail |  | - | Table 3 |  | -
| c). | Budgets | 0 | ü | Table 4 |  | -
|  | »Budget Reconciliation | #REF! | #REF! | Table 5 |  | -
| d). | Savings & Participants | 0 | ü | Report 1 | -3 | û
| e). | Training |  | - | Report 2 |  | -
|  | »External Training | 0 | ü | Report 3 |  | -
|  | »Internal Training | 0 | ü | Report 4 |  | -
2 | Current Program Year Evaluation
| a). | Actual Expenses |  | -
|  | »EECR Reconciliation | 0 | ü
| b). | Evaluated Savings | 0 | ü
|  | »Methodology for Energy Savings | 0 | ü
| c). | Cost-Benefits | 0 | ü
|  | »Key Assumptions | 0 | ü
|  | »NEBs |  | -
|  | »Other Cost-Benefit Test | 21 | û
| d). | LCFC |  | -
| e). | Incentives | #REF! | #REF!
3 | Historical Information
| a). | Prior Two Years |  | -
|  | »Portfolio Data | 0 | ü
|  | Errors: | #REF!
Main Menu
Instructions: The red "x" indicates that a requried field in that section is incomplete. Click on the status indicator to go to that section of the workbook.

## Targets
Program Year | Electric | Natural Gas | Baseline Year | Docket No. | Order No.
2011 | 0.25% | 0.2% | 2010 | 08-137-U | 15
2012 | 0.5% | 0.3% | 2010 | 08-137-U | 15
2013 | 0.75% | 0.4% | 2010 | 08-137-U | 15
2014 | 0.75% | 0.4% | 2010 | 13-002-U | 2
2015 | 0.9% | 0.5% | 2013 | 13-002-U | 15
2016 | 0.9% | 0.5% | 2014 | 13-002-U | 25
2017 | 0.9% | 0.5% | 2015 | 13-002-U | 31
2018 | 0.9% | 0.5% | 2015 | 13-002-U | 31
2019 | 1% | 0.5% | 2015 | 13-002-U | 31
2020 | 1.2% | 0.5% | 2018 | 13-002-U | 43
2021 | 1.2% | 0.5% | 2018 | 13-002-U | 43
2022 | 1.2% | 0.5% | 2018 | 13-002-U | 43
2023 | 0% | 0% | 20xx
2024 | 0% | 0% | 20xx
2025 | 0% | 0% | 20xx
2026 | 0% | 0% | 20xx
2027 | 0% | 0% | 20xx
2028 | 0% | 0% | 20xx
2029 | 0% | 0% | 20xx
2030 | 0% | 0% | 20xx